## Material cost data
MATERIAL SCHEDULE UNDER DURGAPUR DIVISION
SL NO | ITEM TYPE | ITEM CODE |  | UOM | Rate
1 | CENTRAL ITEM | 110030141 | P C C POLE:8 Mtrs.Long | NOS | 5363.44 | 0 | 0
2 | CENTRAL ITEM | 110030241 | P C C POLE:9 Mtrs.Long | NOS | 10198.28 | 0 | 0
3 | CENTRAL ITEM | 110010341 | Steel Tubular Pole 9 Mtr long | NOS | 11550.45 | 0 | 0
4 | CENTRAL ITEM | 110010741 | Steel Tubuar Pole 11 meter | NOS | 17887.87 | 0 | 0
5 | CENTRAL ITEM | 110020511 | Rail Pole (10-13 Mtr Long )52 kg | MT | 76516.79 | 0 | 0
6 | CENTRAL ITEM | 110020711 | Rail Pole (11-13 Mtr Long )52 kg | MT | 93806.05 | 0 | 0
7 | CENTRAL ITEM | 110050911 | Steel Beam (Joist ),11 mtr long,37.1 kg/MT,Hot rolled ,Non-galvanized | MT | 56788.56 | 0 | 0
8 | CENTRAL ITEM | 110051011 | Steel Beam (Joist ),13 mtr long,37.1 kg/MT,Hot rolled ,Non-galvanized | MT | 56788.56 | 0 | 0
9 | CENTRAL ITEM | 110051111 | WIDE FLANGE BEAM 11M LONG WBP 160x160x30.44 kg/m with grade E300 | MT | 67112.64 | 0 | 0
10 | CENTRAL ITEM | 110051211 | WIDE FLANGE BEAM 13M LONG WBP 160x160x30.44 kg/m with grade E300 | MT | 65952.78 | 0 | 0
11 | CENTRAL ITEM | 102010911 | M.S Channel 100X50 mm | MT | 109813.95 | 0 | 0
12 | CENTRAL ITEM | 102010611 | M.S Channel 75X40 mm | MT | 110043.09 | 0 | 0
13 | CENTRAL ITEM | 101011311 | M.S Angle 65X65X6mm | MT | 108667.24 | 0 | 0
14 | CENTRAL ITEM | 101011011 | M.S Angle 50X50X6mm | MT | 109603.22 | 0 | 0
15 | CENTRAL ITEM | 103011211 | M.S Flat 50X6 mm | MT | 117623.3 | 0 | 0
16 | CENTRAL ITEM | 103011511 | M.S Flat 65X6 mm | MT | 117493.74 | 0 | 0
17 | CENTRAL ITEM | 103011611 | M.S Flat 65X8 mm | MT | 114149.39 | 0 | 0
18 | CENTRAL ITEM | 103011911 | M.S Flat 75X8 mm | MT | 114255.68 | 0 | 0
19 | CENTRAL ITEM | 103012311 | M.S Flat 75X12 mm | MT | 114336.31 | 0 | 0
20 | CENTRAL ITEM | 504130432 | G.I. Stay Set H.T. | SET | 795.83 | 0 | 0
21 | CENTRAL ITEM | 504130332 | G.I. Stay Set L.T. | NOS | 462.17 | 0 | 0
22 | CENTRAL ITEM | 504110541 | G.I. Earth Spike | NOS | 367.98 | 0 | 0
23 | CENTRAL ITEM | 503010411 | G.I. Wire 0.91mm | MT | 101756.15 | 0 | 0
24 | CENTRAL ITEM | 503010611 | G.I. Wire 3.15 mm | MT | 101194.21 | 0 | 0
25 | CENTRAL ITEM | 503010711 | G.I. Wire 4 mm | MT | 137360.98 | 0 | 0
26 | CENTRAL ITEM | 503010811 | G.I. Wire 5 mm | MT | 136865.98 | 0 | 0
27 | CENTRAL ITEM | 503050911 | G.I. Stay Wire 7/4 mm | MT | 141692.18 | 0 | 0
28 | CENTRAL ITEM | 503050711 | G.I. Stay Wire 7/3.15 mm | MT | 142310.93 | 0 | 0
29 | CENTRAL ITEM | 503050611 | G.I. Stay Wire 7/2.5 mm | MT | 145404.64 | 0 | 0
30 | CENTRAL ITEM | 503050311 | G.I. Stay Wire 3/12 SWG mm | MT | 101740.18 | 0 | 0
31 | CENTRAL ITEM | 504110441 | G.I . PIN 33 KV | NOS | 261.18 | 0 | 0
32 | CENTRAL ITEM | 504111341 | G.I . PIN 11 KV | NOS | 91.05 | 0 | 0
33 | CENTRAL ITEM | 508010741 | 33 KV 580 mm CD Pin Insulator | NOS | 423.32 | 0 | 0
34 | CENTRAL ITEM | 508010841 | 33 kv 840 mm CD Pin Insulator | NOS | 951.89 | 0 | 0
35 | CENTRAL ITEM | 508020432 | 33 KV Post Insulator | NOS | 1153.01 | 0 | 0
36 | CENTRAL ITEM | 508011041 | 33 KV 900 mm CD Polymer Composite Pin Insulator | NOS | 678.15 | 0 | 0
37 | CENTRAL ITEM | 508030641 | 33 KV Polymer Composite 70 KN Disc Insulator | NOS | 326.7 | 0 | 0
38 | CENTRAL ITEM | 508010341 | 11 KV 230 mm CD Pin Insulator | NOS | 68.26 | 0 | 0
39 | CENTRAL ITEM | 508010441 | 11 KV 320 mm CD Pin Insulator | NOS | 103.83 | 0 | 0
40 | CENTRAL ITEM | 508030441 | 11 KV 70 KN Disc Insulator | NOS | 418.53 | 0 | 0
41 | CENTRAL ITEM | 508030341 | 11 KV 45 KN Disc Insulator | NOS | 359.42 | 0 | 0
42 | CENTRAL ITEM | 508030741 | 11 KV 120 KN Disc Insulator | NOS | 741.21 | 0 | 0
43 | CENTRAL ITEM | 508020341 | 11 KV Post Insulator | NOS | 289.57 | 0 | 0
44 | CENTRAL ITEM | 508011141 | 11 KV 320 mm CD Polymer Composite Pin Insulator | NOS | 243.79 | 0 | 0
45 | CENTRAL ITEM | 508030541 | 11 KV Polymer Composite 45 KN Disc Insulator | NOS | 183.15 | 0 | 0
46 | CENTRAL ITEM | 504010132 | Composite Hardware Fittings for ACSR Weasel/Rabbit Conductor | SET | 327.83 | 0 | 0
47 | CENTRAL ITEM | 504010232 | Composite Hardware Fittings for ACSR Dog Conductor | SET | 518.96 | 0 | 0
48 | CENTRAL ITEM | 504010332 | Single tension hardwar fitting for wolf Conductor | SET | 1354.91 | 0 | 0
49 | CENTRAL ITEM | 504010432 | Single suspension hardwar fitting for ACSR wolf Conductor | SET | 647.62 | 0 | 0
50 | CENTRAL ITEM | 504010532 | Single tension hardwar fitting for Panther Conductor | SET | 1683.48 | 0 | 0
51 | CENTRAL ITEM | 504010632 | Single suspension hardwar fitting for Panther Conductor | SET | 730.12 | 0 | 0
52 | CENTRAL ITEM | 309010541 | Lightning Arrester 42 KV 10 KA Porcelain housed gapless type | NOS | 7628.27 | 0 | 0
53 | CENTRAL ITEM | 309010841 | Lightning Arrester 12 KV 5 KA Porcelain housed gapless type | NOS | 524.23 | 0 | 0
54 | CENTRAL ITEM | 304010632 | TPGO Isolator :11 KV :400Amp | SET | 19138.97 | 0 | 0
55 | CENTRAL ITEM | 304010532 | TPGO Isolator :11 KV :200Amp | SET | 10384.98 | 0 | 0
56 | CENTRAL ITEM | 304010332 | 33 KV 400 A TPGO Isolator (Rocking Type) | NOS | 40318.52 | 0 | 0
57 | CENTRAL ITEM | 304022332 | 33 KV 400A CR Type Isolator W/OES (H/L) | NOS | 41924.78 | 0 | 0
58 | CENTRAL ITEM | 304020832 | 33 KV 400A CR Type Isolator W/OES (L/L) | NOS | 41486.71 | 0 | 0
59 | CENTRAL ITEM | 304021132 | 33 KV 400A CR Type Isolator with ES (H/L) | NOS | 55615.93 | 0 | 0
60 | CENTRAL ITEM | 502020321 | AAAC Weasel Conductor | MT | 18551.38 | 0 | 0
61 | CENTRAL ITEM | 502030621 | AAC ANT Conductor | KM | 27864.46 | 0 | 0
62 | CENTRAL ITEM | 502030321 | AAC GNAT Conductor | KM | 13801.78 | 0 | 0
63 | CENTRAL ITEM | 502020621 | AAAC Rabbit Conductor | MT | 31272.84 | 0 | 0
64 | CENTRAL ITEM | 502010321 | ACSR Squirrel (20 sq .mm.)Conductor | KM | 25658.05 | 0 | 0
65 | CENTRAL ITEM | 502010621 | ACSR Weasel (30 sq.mm.) Conductor | KM | 38139.33 | 0 | 0
66 | CENTRAL ITEM | 502010921 | ACSR Rabbit (50 sq .mm.)Conductor | KM | 62290.12 | 0 | 0
67 | CENTRAL ITEM | 502011221 | ACSR Dog(100 sq .mm.)Conductor | KM | 122653.45 | 0 | 0
68 | CENTRAL ITEM | 502011521 | ACSR Wolf (150 sq .mm.)Conductor | KM | 203337.56 | 0 | 0
69 | CENTRAL ITEM | 502011821 | ACSR Panther (200 sq .mm.)Conductor | KM | 271669.29 | 0 | 0
70 | CENTRAL ITEM | 501013021 | CABLE (PVC 1.1 KV GRADE) 2CX6 sq mm | KM | 25284.26 | 0 | 0
71 | CENTRAL ITEM | 501015121 | CABLE (PVC 1.1 KV GRADE) 3.5CX25 sq mm | KM | 102514.93 | 0 | 0
72 | CENTRAL ITEM | 501012921 | CABLE (PVC 1.1 KV GRADE) 2CX4 sq mm | KM | 43310.09 | 0 | 0
73 | CENTRAL ITEM | 501015521 | CABLE (PVC 1.1 KV GRADE) 3.5X95 sq mm | KM | 267249.68 | 0 | 0
74 | CENTRAL ITEM | 501015821 | CABLE (PVC 1.1 KV GRADE) 3.5CX185 sq mm | KM | 485953.52 | 0 | 0
75 | CENTRAL ITEM | 501015321 | CABLE (PVC 1.1 KV GRADE) 3.5X50 sq mm | KM | 166180.42 | 0 | 0
76 | CENTRAL ITEM | 501016021 | CABLE (PVC 1.1 KV GRADE) 3.5X300 sq mm | KM | 1047259.31 | 0 | 0
77 | CENTRAL ITEM | 501016121 | CABLE (PVC 1.1 KV GRADE) 3.5X400sq mm | KM | 1509569.3 | 0 | 0
78 | CENTRAL ITEM | 501015921 | CABLE (PVC 1.1 KV GRADE) 3.5X240 sq mm | KM | 835742.29 | 0 | 0
79 | CENTRAL ITEM | 501017421 | CABLE (PVC 1.1 KV GRADE) 4Core X10 sq mm | KM | 125852.36 | 0 | 0
80 | CENTRAL ITEM | 501017721 | CABLE (PVC 1.1 KV GRADE) 4CX16 sq mm | KM | 119154.63 | 0 | 0
81 | CENTRAL ITEM | 501017821 | CABLE (PVC 1.1 KV GRADE) 4CX25 sq mm | KM | 229429.95 | 0 | 0
82 | CENTRAL ITEM | 501017921 | CABLE (PVC 1.1 KV GRADE) 4CX50sq mm | KM | 248238.29 | 0 | 0
83 | CENTRAL ITEM | 501018121 | CABLE (PVC 1.1 KV GRADE) 4CX120 sq mm | KM | 481307.89 | 0 | 0
84 | CENTRAL ITEM | 501018221 | CABLE (PVC 1.1 KV GRADE) 4CX185 sq mm | KM | 781231.73 | 0 | 0
85 | CENTRAL ITEM | 501018321 | CABLE (PVC 1.1 KV GRADE) 4CX300 sq mm | KM | 1277593.58 | 0 | 0
86 | CENTRAL ITEM |  | CABLE (XLPE 1.1 KV )1X25 sq mm | KM | 26409.87 | 0 | 0
87 | CENTRAL ITEM | 501020421 | CABLE (XLPE 1.1 KV )1X50 sq mm | KM | 45754.33 | 0 | 0
88 | CENTRAL ITEM | 501020521 | CABLE (XLPE 1.1 KV )1X95 sq mm | KM | 75406.82 | 0 | 0
89 | CENTRAL ITEM | 501020721 | CABLE (XLPE 1.1 KV )1X185 sq mm | KM | 153158.19 | 0 | 0
90 | CENTRAL ITEM | 501020621 | CABLE (XLPE 1.1 KV )1X120 sq mm | KM | 93837.3 | 0 | 0
91 | CENTRAL ITEM | 501020821 | CABLE (XLPE 1.1 KV )1X240 sq mm | KM | 190583.36 | 0 | 0
92 |  | 501021121 | CABLE (XLPE 1.1 KV )1X630 sq mm | KM | 855321.69 | 0 | 0
93 | CENTRAL ITEM | 501021721 | CABLE (XLPE 1.1 KV )3.5X25sq mm | KM | 141738.01 | 0 | 0
94 | CENTRAL ITEM | 501021821 | CABLE (XLPE 1.1 KV )3.5X50 sq mm | KM | 215571.88 | 0 | 0
95 | CENTRAL ITEM | 501021921 | CABLE (XLPE 1.1 KV )3.5X95sq mm | KM | 347928.97 | 0 | 0
96 | CENTRAL ITEM | 501022021 | CABLE (XLPE 1.1 KV )4X6 sq mm | KM | 70408.08 | 0 | 0
97 | CENTRAL ITEM | 501022121 | CABLE (XLPE 1.1 KV )4CX10 sq mm | KM | 72989.73 | 0 | 0
98 | CENTRAL ITEM | 501022221 | CABLE (XLPE 1.1 KV )4CX25sq mm | KM | 135781.37 | 0 | 0
99 | CENTRAL ITEM | 501022321 | CABLE (XLPE 1.1 KV )4CX50 sq mm | KM | 354938.27 | 0 | 0
100 | CENTRAL ITEM | 501022421 | CABLE (XLPE 1.1 KV )4CX120 sq mm | KM | 751027.94 | 0 | 0
101 | CENTRAL ITEM | 501022521 | CABLE (XLPE 1.1 KV )4CX185 sq mm | KM | 1168081.89 | 0 | 0
102 | CENTRAL ITEM | 501022621 | CABLE (XLPE 1.1 KV )4CX300 sq mm | KM | 1777071.1 | 0 | 0
103 | CENTRAL ITEM | 501023621 | CABLE (XLPE 11 KV )1CX1000 sq mm | KM | 1685372.9 | 0 | 0
104 | CENTRAL ITEM | 501023821 | CABLE (XLPE 11 KV )3CX95 sq mm | KM | 1046828.46 | 0 | 0
105 | CENTRAL ITEM | 501023921 | CABLE (XLPE 11 KV )3CX185 sq mm | KM | 1229138.19 | 0 | 0
106 | CENTRAL ITEM | 501024121 | CABLE (XLPE 11 KV )3CX300 sq mm | KM | 1768380.17 | 0 | 0
107 | CENTRAL ITEM | 501024221 | CABLE (XLPE 11 KV )3CX400 sq mm | KM | 2179818.59 | 0 | 0
108 | CENTRAL ITEM | 501024521 | CABLE (XLPE 33 KV ) 1X300 sq mm | KM | 603950.72 | 0 | 0
109 | CENTRAL ITEM | 501024621 | CABLE (XLPE 33 KV ) 1CX400 sq mm | NOS | 763284.61 | 0 | 0
110 | CENTRAL ITEM | 501025421 | CABLE (XLPE 33 KV ) 1X1000 sq mm | KM | 2083227.79 | 0 | 0
111 | CENTRAL ITEM | 501024921 | CABLE (XLPE 33 KV ) 3CX185 sq mm | KM | 2390241.81 | 0 | 0
112 | CENTRAL ITEM | 501025121 | CABLE (XLPE 33 KV ) 3X300 sq mm | KM | 2039007.39 | 0 | 0
113 | CENTRAL ITEM | 501025221 | CABLE (XLPE 33 KV ) 3X400 sq mm | KM | 2950761.2 | 0 | 0
114 | CENTRAL ITEM | 501030321 | CABLE (LT AERIAL BUNCHED 1.1 KV ) 3CX50 +1CX35 sq mm | KM | 160930.91 | 0 | 0
115 | CENTRAL ITEM | 501030421 | CABLE (LT AERIAL BUNCHED 1.1 KV ) 3CX50 +1cx16+1CX35 sq mm | KM | 237394.49 | 0 | 0
116 | CENTRAL ITEM | 501030521 | CABLE (LT AERIAL BUNCHED 1.1 KV ) 3CX70+1CX16+1CX50 sq mm | KM | 315558.99 | 0 | 0
117 | CENTRAL ITEM | 501030621 | CABLE (HT AERIAL BUNCHED 11 KV ) 3CX50+1CX150 sq mm | KM | 826924.19 | 0 | 0
118 | CENTRAL ITEM | 501031121 | CABLE (HT AERIAL BUNCHED 11 KV ) 3CX95+1CX70 sq mm | KM | 826924.19 | 0 | 0
119 | CENTRAL ITEM | 504022941 | Wedge Connector for HT CABLE 1cx95 sq mm | NOS | 949.67 | 0 | 0
120 | CENTRAL ITEM | 504026741 | IPC for 50-70 sq mm both main & service Cable for Connecting Distribution Box | NOS | 117.42 | 0 | 0
121 |  | 504026941 | IPC for 35-50 sq mm both main & service Cable for Connecting Distribution Box | NOS | 95.09 | 0 | 0
122 | CENTRAL ITEM | 504027141 | IPC for connecting ABC to ABC TEE joint | NOS | 149.17 | 0 | 0
123 | CENTRAL ITEM | 504027441 | Bimetallic Crimping type watter proof LUG for 16 sq mm.1-phase street light | NOS | 167.19 | 0 | 0
124 | CENTRAL ITEM | 504027541 | Bimetallic Crimping type watter proof LUG for 35 sq mm .Neutral Messenger | NOS | 179.32 | 0 | 0
125 | CENTRAL ITEM | 504027741 | Bimetallic Crimping type watter proof LUG for 50 sq mm .Power Cable | NOS | 180 | 0 | 0
126 | CENTRAL ITEM | 504060941 | LT Distribution Box along with steel Strap & Buckle for 3ph connection in ABC system | NOS | 1489.9 | 0 | 0
127 | CENTRAL ITEM | 504140641 | Cable End Cap for different size AB Cable | NOS | 17.21 | 0 | 0
128 | CENTRAL ITEM | 504151441 | Cable Tie with adjustable locking arrangement | NOS | 7.96 | 0 | 0
129 | CENTRAL ITEM | 504038541 | Tee Joint tap off from HT ABC to DTR for 1CX95 sqmm | NOS | 5214.5 | 0 | 0
130 | CENTRAL ITEM | 504053241 | Termination KIT O/D heat shrinkable for HT Cable 1Cx95 sq.mm. | NOS | 2763.87 | 0 | 0
131 | CENTRAL ITEM | 504053441 | Joint KIT straght through heat shrinkable for HT Cable 1CX95 sq.mm. | NOS | 7296.09 | 0 | 0
132 | CENTRAL ITEM | 505036541 | Susp clamp HT ABCD 70-150SQMM | NOS | 156.62 | 0 | 0
133 | CENTRAL ITEM | 505030841 | Eye hook for Ancho .& Suspon .Clamp | NOS | 110.64 | 0 | 0
134 | CENTRAL ITEM | 505034941 | CLAMP FOR 8M PCC POLE | NOS | 190 | 0 | 0
135 | CENTRAL ITEM | 505030341 | Anchor Clamp suitable for 180sq.mm. Messenger Conductor | NOS | 449.46 | 0 | 0
136 | CENTRAL ITEM | 505030241 | Suspension Clamp Suitable for 180sq.mm. Messenger Conductor | NOS | 416.03 | 0 | 0
137 | CENTRAL ITEM | 505030641 | Suspension Clamp Suitable for 35sq.mm. Messenger Conductor | NOS | 367.62 | 0 | 0
138 | CENTRAL ITEM | 505034141 | Dead End clamp-LT ABC(3x70+1x16+1x50SMM) | NOS | 389.66 | 0 | 0
139 | CENTRAL ITEM | 504023041 | PAD Connector for HT Cable 1CX95 sq.mm. | NOS | 785.93 | 0 | 0
140 | CENTRAL ITEM | 501041121 | COPPER (CONTROL CABLE 1.1 KV GRADE) 12 C X2.5 sq.mm. | KM | 420547.33 | 0 | 0
141 | CENTRAL ITEM | 501041021 | COPPER (CONTROL CABLE 1.1 KV GRADE) 8 C X2.5 sq.mm. | KM | 281825.12 | 0 | 0
142 | CENTRAL ITEM | 501040721 | COPPER (CONTROL CABLE 1.1 KV GRADE) 4 C X2.5 sq.mm. | KM | 157705.25 | 0 | 0
143 | CENTRAL ITEM | 301010541 | DTR 10KV 11/0.433 KV | NOS | 33410.2 | 0 | 0
144 | CENTRAL ITEM | 301011041 | DTR 16KV 11/0.433 KV | NOS | 89547.19 | 0 | 0
145 | CENTRAL ITEM | 301018141 | DTR 25KV 11/0.433 KV | NOS | 103528.11 | 0 | 0
146 | CENTRAL ITEM | 301018241 | DTR 63KV 11/0.433 KV | NOS | 197568.41 | 0 | 0
147 | CENTRAL ITEM | 301018341 | DTR 100KV 11/0.433 KV | NOS | 248239.75 | 0 | 0
148 | CENTRAL ITEM | 301018741 | DTR 160KV 11/0.433 KV | NOS | 318579.7 | 0 | 0
149 | CENTRAL ITEM | 301019641 | DTR 250KV 11/0.433 KV | NOS | 674147.87 | 0 | 0
150 | CENTRAL ITEM | 301019041 | DTR 315KV 11/0.433 KV (I/D) | NOS | 987447.23 | 0 | 0
151 | CENTRAL ITEM | 301019141 | DTR 315KV 11/0.433 KV (O/D) | NOS | 985286.54 | 0 | 0
152 | CENTRAL ITEM | 301019341 | DTR 630KV 11/0.415 KV (O/D) Oil cool Type | NOS | 1843342.08 | 0 | 0
153 | CENTRAL ITEM | 301019541 | DTR 630KV 11/0.415 KV (O/D) Dry Type | NOS | 3505551.1 | 0 | 0
| CENTRAL ITEM | 301019441 | DTR 630KV 11/0.415 KV (I/D) Dry Type | NOS | 3505551.1 | 0 | 0
154 | CENTRAL ITEM | 301017041 | DTR 800KV 11/0.415 KV (I/D) | NOS | 1254940.32 | 0 | 0
155 | CENTRAL ITEM | 301017241 | DTR 1000KV 11/0.415KV (I/D) | NOS | 1313085.68 | 0 | 0
156 | CENTRAL ITEM | 31020941 | 3.15 MVA 33/11 KV POWER TRANSFORMER | NOS | 4513755.98 | 0 | 0
157 | CENTRAL ITEM | 301021241 | 6.3 MVA 33/11 KV POWER TRANSFORMER | NOS | 11415656.07 | 0 | 0
158 | CENTRAL ITEM | 301022041 | RTCC Panel for 6.3 MVA Transformer | NOS | 89074.27 | 0 | 0
159 | CENTRAL ITEM | 301021541 | 10 MVA 33/11 KV POWER TRANSFORMER | NOS | 8838612.64 | 0 | 0
160 | CENTRAL ITEM | 301022141 | RTCC Panel for 10 MVA Transformer | NOS | 89074.27 | 0 | 0
161 | CENTRAL ITEM | 301080341 | 100 KVA 33/0.415 KV Station Service Transformer | NOS | 396801.07 | 0 | 0
162 | CENTRAL ITEM | 908010252 | Transformer Oil (EVH Grade) | KL | 127665.28 | 0 | 0
163 | CENTRAL ITEM | 901020932 | Plante Type 30 V 75 AH YKP7 Lead-acid battery set | SET | 113945.66 | 0 | 0
164 | CENTRAL ITEM | 901031141 | Battery charger 30 V 20.5 A for charging 30V 75 AH battery | SET | 76387.4 | 0 | 0
165 | CENTRAL ITEM | 906010232 | Electrolytes for 30V,100AH Plante Type lead acid battery | SET | 2396.14 | 0 | 0
166 | CENTRAL ITEM | 901021132 | 30V 100AH Plant Type Lead Acide Battery | SET | 149454.26 | 0 | 0
167 | CENTRAL ITEM | 901031241 | 30V,35A Auto&Manual,Float-cum-Boost,Thyristor controlled Battery Charger. | SET | 113898.24 | 0 | 0
168 | CENTRAL ITEM | 301032241 | 33 KV PT:1PHASE OD TYPE :RATIO:33/V3/0.11/V 3 KV | NOS | 26649.27 | 0 | 0
169 | CENTRAL ITEM | 301055941 | 33 KV CT(1 PHASE):OD TYPE :DUAL CORE CT RATIO-100-50/5-5A | NOS | 26071.24 | 0 | 0
170 | CENTRAL ITEM | 301051641 | 33 KV CT(1 PHASE):OD TYPE :DUAL CORE CT RATIO-400-200/1-1A | NOS | 37849.26 | 0 | 0
171 | CENTRAL ITEM | 301052341 | 33 KV CT(1 PHASE):OD TYPE :DUAL CORE CT RATIO-400-200/1-1-1A | NOS | 39751.99 | 0 | 0
172 | CENTRAL ITEM | 301054741 | 33 KV CT(1 PHASE):OD TYPE :DUAL CORE CT RATIO-200-100/1-1-1A | NOS | 51838.3 | 0 | 0
173 | CENTRAL ITEM | 301054141 | 33 KV CT(1 PHASE):OD TYPE :DUAL CORE CT RATIO-200-100/1-1A | NOS | 29472.54 | 0 | 0
174 | CENTRAL ITEM | 301055641 | 33 KV CT(1 PHASE):OD TYPE :DUAL CORE CT RATIO-100-50/1-1A | NOS | 25989.78 | 0 | 0
175 | CENTRAL ITEM | 301064441 | LT Current Transformer Ring Type Ratio-200/5 Amps | NOS | 519.16 | 0 | 0
176 | CENTRAL ITEM | 301070541 | 11 KV COMBINED CT&PT with CT ratio 200-100/1A | NOS | 49839.75 | 0 | 0
177 | CENTRAL ITEM | 301070741 | 11 KV COMBINED CT&PT with CT ratio 300-150/1A | NOS | 49839.75 | 0 | 0
178 | CENTRAL ITEM | 301070841 | 11 KV COMBINED CT&PT with CT ratio 300-150/5A | NOS | 42571.45 | 0 | 0
179 | CENTRAL ITEM |  | 11 KV COMBINED CT&PT with CT ratio 300-150/1A | NOS | 42331.84 | 0 | 0
180 | CENTRAL ITEM | 301070641 | 11 KV COMBINED CT&PT with CT ratio 200-100/5A | NOS | 42571.45 | 0 | 0
181 | CENTRAL ITEM | 302030341 | 36 KV VCB:750 MVA 1000/1250 Amps:O/D-Type,30V DC | NOS | 280656.94 | 0 | 0
182 | CENTRAL ITEM | 302031232 | 33 KV Indoor Composite Panel with VCB (2+2+2+1+1) | NOS | 7545593.33 | 0 | 0
183 | CENTRAL ITEM | 305011141 | 33 KV Control Relay panel for group Control of Power Transformer with CE | NOS | 166899.26 | 0 | 0
184 | CENTRAL ITEM | 305011041 | 33 KV Control Relay panel for group Control of Power Transformer without CE | NOS | 160573.45 | 0 | 0
185 | CENTRAL ITEM | 305014241 | 33 KV C.R panel forindividual Control of Power Transformer W/O Differencial | NOS | 317488.78 | 0 | 0
186 | CENTRAL ITEM | 305014141 | 33 KV Control panel for individual Control of power Transformer with Differenial Realy | NOS | 392619.37 | 0 | 0
187 | CENTRAL ITEM | 305015241 | 33 KV Control & Relay Panel,With Differential Relay SCADA Compatible for individual Transformer Control | NOS | 320628.05 | 0 | 0
188 | CENTRAL ITEM | 305014041 | 33 KV C.R panel feeder Control Panel with Non-Directional Relay | NOS | 253591.67 | 0 | 0
189 | CENTRAL ITEM | 305015141 | 33 KV Control & Relay Panel,With Directional Relay SCADA Compatible for Feeder Control | NOS | 217282.28 | 0 | 0
190 | CENTRAL ITEM | 305013941 | 33 KV C.R panel feeder Control Panel with Directional Relay | NOS | 248841.46 | 0 | 0
191 | CENTRAL ITEM | 305010541 | 33 KV C.R panel feeder Control Panel W/O CE | NOS | 130525.83 | 0 | 0
192 | CENTRAL ITEM | 303050441 | Switch Gear-12 KV 18.4 KV Series Trip Metering complete with VCB with CT&PT and CT RATIO-100-50/5-5A | NOS | 267148.77 | 0 | 0
193 | CENTRAL ITEM | 303050341 | Switch Gear-12 KV 18.4 KV Series Trip Metering complete with VCB with CT&PT and CT RATIO-50-25/5-5A | NOS | 250591.02 | 0 | 0
194 | CENTRAL ITEM | 303060432 | Switch Gear-12 KV 18.4 KV Series Trip Metering complete with VCB with CT&PT and (RMU) CT RATIO-100-50/5-5A | SET | 729409.51 | 0 | 0
195 | CENTRAL ITEM | 303060332 | Switch Gear-12 KV 18.4 KV Series Trip Metering complete with VCB with CT&PT and (RMU) CT RATIO-50-25/5-5A | SET | 742803.94 | 0 | 0
196 | CENTRAL ITEM | 303061932 | 11KV Non Extensible 4 Way Outdoor SF6 Insulated RMU | SET | 562933.57 | 0 | 0
197 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 16 PNL (4+3+9) | SET | 4774106.76 | 0 | 0
198 | CENTRAL ITEM | 30343632 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 15 PNL (3+2+9) for 10MVA Transformer | NOS | 5721986.49 | 0 | 0
199 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 14 PNL (3+3+8) | SET | 4076635.83 | 0 | 0
200 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 13 PNL (4+3+6) | SET | 3908297.28 | 0 | 0
201 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 14 PNL (4+3+7) | SET | 4135740.66 | 0 | 0
202 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 11 PNL (3+2+6) for 10MVA Transformer | NOS | 4285898.87 | 0 | 0
203 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 11 PNL (2+1+8) | SET | 3266573.18 | 0 | 0
204 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 3 PNL (1+0+2) for 6.3 MVA Transformer | NOS | 1244396.28 | 0 | 0
205 | CENTRAL ITEM | 303036532 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 9 PNL (3+2+4) | NOS | 3820648.02 | 0 | 0
206 | CENTRAL ITEM | 303036732 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 5 PNL (2+1+2) | NOS | 2155249.63 | 0 | 0
207 | CENTRAL ITEM | 303036832 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 3 PNL (1+1+1) | NOS | 1240722.2 | 0 | 0
208 | CENTRAL ITEM | 303036932 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 1PNL (0+0+1) | NOS | 448989.04 | 0 | 0
209 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 10 PNL (2+1+7) | SET | 2565567.34 | 0 | 0
210 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 10 PNL (2+2+6) | SET | 2950550.04 | 0 | 0
211 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 10 PNL (3+2+5) | SET | 2597193.82 | 0 | 0
212 | CENTRAL ITEM | 303042532 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 9 PNL (2+1+6) for 6.3 MVA Transformer | NOS | 3687662.15 | 0 | 0
213 | CENTRAL ITEM | 303042432 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 9 PNL (2+1+6) for 10 MVA Transformer | NOS | 3853954.39 | 0 | 0
214 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 8 PNL (2+1+5) for 10 MVA Transformer | NOS | 316309.68 | 0 | 0
215 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 9 PNL (2+1+5) for 6.3 MVA Transformer | NOS | 3161309.68 | 0 | 0
216 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 8 PNL (2+2+4) | SET | 2338634.35 | 0 | 0
217 | CENTRAL ITEM | 303036632 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 7 PNL (2+1+4) for 10 MVA Transformer | SET | 3004602.01 | 0 | 0
218 | CENTRAL ITEM | 303041532 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 4 PNL (1+1+4) for 10 MVA Transformer | NOS | 1634168.67 | 0 | 0
219 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 4 PNL (1+1+2) for 6.3 MVA Transformer | NOS | 1634168.67 | 0 | 0
220 | CENTRAL ITEM | 303041632 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 4 PNL (0+0+4) | SET | 1154412.98 | 0 | 0
221 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 4 PNL (1+0+3) | SET | 1214091.67 | 0 | 0
222 | CENTRAL ITEM | 303041032 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 4 PNL (1+1+2) for 6.3 MVA Transformer | NOS | 85302.46 | 0 | 0
223 | CENTRAL ITEM | 303040932 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 2 PNL (1+0+1) for 10 MVA Transformer | NOS | 85026.46 | 0 | 0
224 | CENTRAL ITEM | 303040432 | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 1 PNL (0+0+1) for 6.3 MVA Transformer | NOS | 424676.19 | 0 | 0
225 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 3 PNL (1+0+2) | SET | 912131.29 | 0 | 0
226 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 3 PNL (0+0+3) | SET | 853026.46 | 0 | 0
227 | CENTRAL ITEM |  | Switchgear (Shunt Trip) with VCB (12KV 350 MVA 1250/800A) 2 PNL (0+0+2) | SET | 568684.31 | 0 | 0
228 | CENTRAL ITEM | 401010741 | Single Phase Static Meter (5-30)A With P.P.Box | NOS | 1036.46 | 0 | 0
229 | CENTRAL ITEM | 401010641 | Single Phase Static Meter (5-30)A Without P.P.Box | NOS | 695.92 | 0 | 0
230 | CENTRAL ITEM | 401020341 | Three Phase Static Meter (5-30)A | NOS | 9249.75 | 0 | 0
231 | CENTRAL ITEM | 401021541 | Three Phase (5-30) A, DLMS Compliant ,Whole current Staic Meter | NOS | 6580.65 | 0 | 0
232 | CENTRAL ITEM | 401021241 | Three Phase Static Meter (5-30)A Import-Export type | NOS | 5247.55 | 0 | 0
233 | CENTRAL ITEM | 401021441 | Three Phase Static Meter (10-60)A | NOS | 7824.28 | 0 | 0
234 | CENTRAL ITEM | 401020641 | Three Phase Static Meter (20-100)A | NOS | 10205.09 | 0 | 0
235 | CENTRAL ITEM | 401021341 | Three Phase Static Meter (20-100)A Import-Export type | NOS | 13796.82 | 0 | 0
236 | CENTRAL ITEM | 401030441 | Energy Meter 3 Phase 4 Wire,CT/PT operated,CT Ratio 100/1A, Accuracy:0.5s. For 33 KV Bulk Consumer | NOS | 10203.01 | 0 | 0
237 | CENTRAL ITEM | 401030941 | Energy Meter 3 Phase 3 Wire,CT/PT operated AMR compatible Tri-Vector Meter For 11 KV Sub Station Feeder | NOS | 13603.22 | 0 | 0
238 | CENTRAL ITEM | 401030741 | Energy Meter 3 Phase 4 Wire,CT Ratio 100/5A for 33 KV Bulk Consumer | NOS | 14098.9 | 0 | 0
239 | CENTRAL ITEM | 401032541 | Energy Meter 3 Phase LT TOD Import Export type 50KV to 125 KVA | NOS | 13258.65 | 0 | 0
240 | CENTRAL ITEM | 401030541 | Energy Meter 3 Phase 4 Wire,CT-PT operated HT Trivector TOD for 132 KV Bulk | NOS | 42755.16 | 0 | 0
241 | CENTRAL ITEM | 401030641 | Energy Meter 1 Phase 2 Wire,Static 132 KV CT-PT operated HT Trivector TOD Energy Meter for 132 KV Bulk Traction Power Supply | NOS | 42755.16 | 0 | 0
242 | CENTRAL ITEM |  | Energy Meter 1 Phase 2 Wire,Static Whole Current Pre Paid Meter Of Rating 3 x20- | NOS | 18458.28 | 0 | 0
243 | CENTRAL ITEM | 401033441 | Energy Meter 1 Phase 2 Wire,Static 132 KV CT-PT operated HT Trivector TOD Energy Meter for 132 KV Bulk Traction Power application, accuracy class 0.2 | NOS | 37447.22 | 0 | 0
244 | CENTRAL ITEM | 401010541 | 1-phase (10-60 Amp) Pre-Paid Energy Meter | NOS | 7410.32 | 0 | 0
245 | CENTRAL ITEM | 401031141 | Energy Meter 3 Phase 4 Wire CT Ratio 100/5A For Bulk Consumer | NOS | 12060.58 | 0 | 0
246 | CENTRAL ITEM | 401030241 | Energy Meter 3 Phase 4 Wire CT Ratio 200/5A For Bulk Consumer | NOS | 6658.41 | 0 | 0
247 | CENTRAL ITEM | 401032041 | Energy Meter 3 Phase 3 Wire,CT/PT operated AMR compatible Tri-Vector For DTR with pilfer proof meter box | NOS | 11176.56 | 0 | 0
248 | CENTRAL ITEM | 401033341 | Energy Meter 3 Phase 3 Wire Non DLMS with CT Ratio 50/5A for 11 KV Bulk | NOS | 10203.01 | 0 | 0
249 | CENTRAL ITEM | 401031541 | 3-Ph 3-Wire CT/PT operated ARM compatible Tri-Vector Meter for 33 KV sub-Station Feeder | NOS | 11892.85 | 0 | 0
250 | CENTRAL ITEM | 401032641 | Energy Meter 3 Phase 40 Wire With DLMS with CT Ratio 50/5A for 11 KV Bulk Consumer | NOS | 10187.64 | 0 | 0
251 | CENTRAL ITEM | 401031741 | Energy Meter for DTR upto 100 KVA rating with MODEM and inbuild CT | NOS | 22776.81 | 0 | 0
252 | CENTRAL ITEM | 401031941 | Static Electronic Trivector Meter Muliti Feeder Meter (2 Feeder) with summation | NOS | 1005243.06 | 0 | 0
253 | CENTRAL ITEM |  | Energy Meter 1 Phase 2 Wire LT Static Whole Current Pre Payment Meter of Rating 10 | NOS | 4056.64 | 0 | 0
254 | CENTRAL ITEM | 902020741 | Polycarbonate Security Seal 20cm (orange colour) | NOS | 5.22 | 0 | 0
255 | CENTRAL ITEM | 902021141 | Polycarbonate Security Seal (Patented) 20cm (Light Green colour) | NOS | 9.04 | 0 | 0
256 | CENTRAL ITEM | 902020841 | Polycarbonate Security Seal (Patented) 20cm (Barcoded Yellow colour) | NOS | 10.62 | 0 | 0
257 | CENTRAL ITEM | 902020941 | Polycarbonate Security Seal (Patented) 40cm (Transperent colour) | NOS | 10.62 | 0 | 0
258 | CENTRAL ITEM | 912011941 | LPR MoDul with MRI & accessories for 3X(10-60) A Energy Meter | NOS | 93315.1 | 0 | 0
259 | CENTRAL ITEM | 504122341 | Re-wirable Porcelain Cut Out Fuse Unit 63 Amp | NOS | 85.21 | 0 | 0
260 | CENTRAL ITEM | 504122141 | Re-wirable Porcelain Cut Out Fuse Unit 16 Amp | NOS | 109.23 | 0 | 0
261 | CENTRAL ITEM | 504122241 | Re-wirable Porcelain Cut Out Fuse Unit 32 Amp | NOS | 174.94 | 0 | 0
262 | CENTRAL ITEM | 504122441 | Re-wirable Porcelain Cut Out Fuse Unit 100 Amp | NOS | 649.37 | 0 | 0
263 | CENTRAL ITEM | 504122541 | Re-wirable Porcelain Cut Out Fuse Unit 200 Amp | NOS | 1385.33 | 0 | 0
264 | CENTRAL ITEM | 504122641 | Re-wirable Porcelain Cut Out Fuse Unit 300 Amp | NOS | 2335.5 | 0 | 0
265 | CENTRAL ITEM | 504122741 | Re-wirable Porcelain Cut Out Fuse Unit 400 Amp | NOS | 3425.13 | 0 | 0
266 | CENTRAL ITEM | 504122841 | Re-wirable Porcelain Cut Out Fuse Unit 500 Amp | NOS | 4080.77 | 0 | 0
267 | LOCAL ITEM | 113020641 | M.S.'V' BRACKET 11 KV FOR PCC 8MTR POLE | NOS | 1294.37 | 0 | 0
268 | LOCAL ITEM | 113020741 | M.S.'V' BRACKET 11 KV FOR PCC 9MTR POLE | NOS | 1314.19 | 0 | 0
269 | LOCAL ITEM | 113020841 | M.S.'V' BRACKET 11 KV FOR RAIL POLE | NOS | 1315.56 | 0 | 0
270 | LOCAL ITEM | 113020941 | M.S.'V' BRACKET 33 KV FOR PCC 9MTR POLE | NOS | 1998.99 | 0 | 0
271 | LOCAL ITEM | 113021141 | M.S.'V' BRACKET 33 KV FOR RAIL POLE | NOS | 2259.3 | 0 | 0
272 | LOCAL ITEM | 113021241 | M.S. TOP ADOPTER 11 KV FOR PCC 8MTR POLE | NOS | 433.67 | 0 | 0
273 | LOCAL ITEM | 113021341 | M.S. TOP ADOPTER 11 KV FOR PCC 9MTR POLE | NOS | 478.12 | 0 | 0
274 | LOCAL ITEM | 113021441 | M.S. TOP ADOPTER 11 KV FOR RAIL POLE | NOS | 523.41 | 0 | 0
275 | LOCAL ITEM | 113021541 | M.S. TOP ADOPTER 33 KV FOR PCC 9MTR POLE | NOS | 1288.1 | 0 | 0
276 | LOCAL ITEM | 113021641 | M.S. TOP ADOPTER 33 KV FOR RAIL POLE | NOS | 807.35 | 0 | 0
277 | LOCAL ITEM | 407010241 | L.T. METER KIOSK 415V | NOS | 15366.01 | 0 | 0
278 | LOCAL ITEM | 407010541 | L.T. DISTRIBUTION KIOSK FOR 100KVA | NOS | 10456.61 | 0 | 0
279 | LOCAL ITEM | 407010741 | L.T. DISTRIBUTION KIOSK FOR 63KVA | NOS | 9441.26 | 0 | 0
280 | LOCAL ITEM | 407010641 | L.T. DISTRIBUTION KIOSK FOR 25KVA | NOS | 8878.41 | 0 | 0
281 | LOCAL ITEM | 407010841 | L.T. DISTRIBUTION KIOSK FOR 315KVA | NOS | 17903.46 | 0 | 0
282 | LOCAL ITEM | 912011441 | G.I. TURN BUCKLE 18X5/8" | NOS | 238.7 | 0 | 0
283 | LOCAL ITEM | 912013341 | G.I. TURN BUCKLE 18X3/4" | NOS | 281.47 | 0 | 0
284 | LOCAL ITEM | 505011141 | PG. CLAMP FOR 100 SQ. M.M. CONDR. | NOS | 334 | 0 | 0
285 | LOCAL ITEM | 505010641 | PG. CLAMP FOR 50/30 SQ. M.M. CONDR. | NOS | 187.88 | 0 | 0
286 | LOCAL ITEM | 505031541 | D' IRON CLAMP | SET | 47.83 | 0 | 0
287 | LOCAL ITEM | 506010531 | SHACKLE STRAP WITH NUT & BOLTS | PAA | 59.21 | 0 | 0
288 | LOCAL ITEM | 506010331 | SHACKLE STRAP BIG 185X30X3 | PAA | 45.38 | 0 | 0
289 | LOCAL ITEM | 503020312 | AL BINDING WIRE 5MM/6SWG | KG | 477.4 | 0 | 0
290 | LOCAL ITEM | 903013545 | PLASTIC TAP/ROLL | NOS | 30 | 0 | 0
291 | LOCAL ITEM | 508040641 | C.I. REEL | NOS | 44.16 | 0 | 0
292 | LOCAL ITEM | 508040441 | SHACKLE INSULATOR (3"X31/2") | NOS | 23.34 | 0 | 0
293 | LOCAL ITEM | 508040341 | SHACKLE INSULATOR (2"X21/2") | NOS | 20 | 0 | 0
294 | LOCAL ITEM | 508040841 | GUY INSULATOR (HT) | NOS | 52.24 | 0 | 0
295 | LOCAL ITEM | 508040741 | GUY INSULATOR (LT) | NOS | 21.11 | 0 | 0
296 | LOCAL ITEM | 504070341 | LT Spacer 1 PHASE 2 WIRE | NOS | 35.51 | 0 | 0
297 | LOCAL ITEM | 504070641 | LT Spacer 2 PHASE 3 WIRE | NOS | 59.08 | 0 | 0
298 | LOCAL ITEM | 504070441 | LT Spacer 3 PHASE 4 WIRE | NOS | 77.62 | 0 | 0
299 | LOCAL ITEM | 504070541 | LT Spacer 3 PHASE 5 WIRE | NOS | 94.79 | 0 | 0
300 | LOCAL ITEM | 504042641 | INDOOR TYPE XLPE CABLE JOINTING KIT,11 KV 3X95 sq. mm. | NOS | 5188.33 | 0 | 0
301 | LOCAL ITEM | 504043241 | INDOOR TYPE XLPE CABLE JOINTING KIT,3X185 sq. mm. | NOS | 5833.67 | 0 | 0
302 | LOCAL ITEM | 504043841 | INDOOR TYPE XLPE CABLE JOINTING KIT,3X300 sq.mm. | NOS | 7242.94 | 0 | 0
303 | LOCAL ITEM | 504042541 | OUTDOOR TYPE XLPE CABLE JOINTING KIT,3X95 sq. mm. | NOS | 6863.1 | 0 | 0
304 | LOCAL ITEM | 504043141 | OUTDOOR TYPE XLPE CABLE JOINTING KIT,3X185 sq. mm. | NOS | 8166.53 | 0 | 0
305 | LOCAL ITEM | 504043741 | OUTDOOR TYPE XLPE CABLE JOINTING KIT,3X300 sq.mm. | NOS | 8963.63 | 0 | 0
306 | LOCAL ITEM | 504042741 | STRAIGHT THROUGH TYPE XLPE CABLE JOINTING KIT,3X95 sq. mm. | NOS | 13095.63 | 0 | 0
307 | LOCAL ITEM | 504057941 | STRAIGHT THROUGH TYPE XLPE CABLE JOINTING KIT,3X185 sq. mm. | NOS | 16285.44 | 0 | 0
308 | LOCAL ITEM | 504043941 | STRAIGHT THROUGH TYPE XLPE CABLE JOINTING KIT,3X300 sq.mm. | NOS | 17000 | 0 | 0
309 | LOCAL ITEM | 504047341 | STRAIGHT THROUGH TYPE XLPE CABLE JOINTING KIT,3X400 sq.mm. | NOS | 17779.39 | 0 | 0
310 | LOCAL ITEM | 504045041 | INDOOR TYPE XLPE CABLE JOINTING KIT,11 KV 3X185 sq. mm. | NOS | 17099.22 | 0 | 0
311 | LOCAL ITEM | 504045641 | INDOOR TYPE XLPE CABLE JOINTING KIT,3X300 sq.mm. 33KV | NOS | 18155.46 | 0 | 0
312 | LOCAL ITEM | 504045941 | INDOOR TYPE XLPE CABLE JOINTING KIT,3X400 sq.mm. 33KV | NOS | 19392.95 | 0 | 0
313 | LOCAL ITEM | 504049741 | INDOOR TYPE XLPE CABLE JOINTING KIT,1X1000 sq.mm. 33KV | NOS | 7096.74 | 0 | 0
314 | LOCAL ITEM | 504044941 | OUTDOOR TYPE XLPE CABLE JOINTING KIT,3X185 sq. mm. 33KV | NOS | 19139.45 | 0 | 0
315 | LOCAL ITEM | 504045541 | OUTDOOR TYPE XLPE CABLE JOINTING KIT,3X300 sq. mm. 33 KV | NOS | 24604.72 | 0 | 0
316 | LOCAL ITEM | 504045841 | OUTDOOR TYPE XLPE CABLE JOINTING KIT,3X400 sq.mm. 33 KV | NOS | 26532.72 | 0 | 0
| LOCAL ITEM | 504049541 | OUTDOOR TYPE XLPE CABLE JOINTING KIT,1X1000 sq.mm. 33 KV | NOS | 8761.41 | 0 | 0
318 | LOCAL ITEM | 504045141 | STRAIGHT THROUGH TYPE XLPE CABLE JOINTING KIT,3X185 sq. mm. | NOS | 40255.18 | 0 | 0
319 | LOCAL ITEM | 504045741 | STRAIGHT THROUGH TYPE XLPE CABLE JOINTING KIT,3X300 sq.mm. | NOS | 41448.16 | 0 | 0
320 | LOCAL ITEM | 504046041 | STRAIGHT THROUGH TYPE XLPE CABLE JOINTING KIT,3X400 sq.mm. | NOS | 42778.21 | 0 | 0
| LOCAL ITEM | 504049641 | STRAIGHT THROUGH TYPE XLPE CABLE JOINTING KIT,1X1000 sq.mm. | NOS | 19713.16 | 0 | 0
321 | LOCAL ITEM | 504054141 | 1.1 KV STRAIGHT THROUGH JOINTING KIT,4CX50 | NOS | 1586.81 | 0 | 0
322 | LOCAL ITEM | 504054341 | 1.1 KV STRAIGHT THROUGH JOINTING KIT,4CX95 | NOS | 2605.34 | 0 | 0
323 | LOCAL ITEM | 504054441 | 1.1 KV STRAIGHT THROUGH JOINTING KIT,4CX120 | NOS | 3370.25 | 0 | 0
324 | LOCAL ITEM | 504054541 | 1.1 KV STRAIGHT THROUGH JOINTING KIT,4CX185 | NOS | 4202.6 | 0 | 0
325 | LOCAL ITEM | 504054641 | 1.1 KV STRAIGHT THROUGH JOINTING KIT,4CX240 | NOS | 4307.69 | 0 | 0
326 | LOCAL ITEM | 504054741 | 1.1 KV STRAIGHT THROUGH JOINTING KIT,4CX300 | NOS | 4322.33 | 0 | 0
327 | LOCAL ITEM | 504054841 | 1.1 KV STRAIGHT THROUGH JOINTING KIT,4CX400 | NOS | 4500 | 0 | 0
328 | LOCAL ITEM | 504055141 | 1.1 KV 'T' JOINTING KIT,4CX50-16/25 | NOS | 4472.8 | 0 | 0
329 | LOCAL ITEM | 504055241 | 1.1 KV 'T' JOINTING KIT,4CX70-16/25 | NOS | 6709.2 | 0 | 0
330 | LOCAL ITEM | 504055341 | 1.1 KV 'T' JOINTING KIT,4CX95-16/25 | NOS | 7348.17 | 0 | 0
331 | LOCAL ITEM | 201050111 | G.I. Barbed Wire | MT | 182529.23 | 0 | 0
332 | LOCAL ITEM | 910010241 | Caution Board 11KV | NOS | 160.18 | 0 | 0
333 | LOCAL ITEM | 910012141 | Caution Board 33KV | NOS | 160.18 | 0 | 0
[5 empty] | Material |  | 0
[5 empty] | Sundries @5% on Mat. |  | 0
|  |  |  | A. | Total Material |  | 0
|  |  |  | B. | Labour |  | 2377
|  |  |  | C. | Total (A+B) |  | 2377
|  |  |  | D. | Supv. Cost@10% on C (Mat+Lab) |  | 237.7
|  |  |  | E. | Total(C+D) |  | 2614.7
|  |  |  | F. | Cess @1% on E |  | 26.147
|  |  |  | G. | GST @18% on (B+D) |  | 470.646
|  |  |  | H. | Grand Total (E+F+G) |  | 3111.493
RETURNABLE MATERIALS
|  | DAMAGE |  | NO |  |  | 0
|  | DAMAGE |  | MT |  |  | 0
|  | DAMAGE |  | NO |  |  | 0
[6 empty] | TOTAL | 0
|  |  | I. RETURNABLE MATERIALS 20% Value |  |  | RS. | 0
[5 empty] | Scheme Cost (H-I) | Rs. | 0

## Total labour rate
LABOUR SCHEDULE UNDER DURGAPUR DIVISION
SL No | Remarks | Description of work | Unit | Rate |  | Amount
1 | New Work | Survey of HTOH line up to 33 KV | KM | 2761 | 0 | 0
2 | New Work | Survey of LTOH line | KM | 1714 | 0 | 0
3 | New Work | Erection of 12.80 MTR Long Rail pole S/P | NOS | 4351 | 0 | 0
4 | New Work | Erection of 9 MTR Long PCC pole S/P | NOS | 2281 | 0 | 0
5 | New Work | Erection of 8 MTR Long PCC pole S/P | NOS | 1501 | 0 | 0
6 | New Work | Erection of Steel Tubular 9 MTR Long S/P | NOS | 2575.9 | 0 | 0
7 | New Work | Erection of 12.80 MTR Long Rail pole S/P for HTOH line | NOS | 4657 | 0 | 0
8 | New Work | Erection of 9 MTR Long PCC pole S/P for HTOH line | NOS | 2620 | 0 | 0
9 | New Work | Erection of 8 MTR Long PCC pole S/P for HTOH line | NOS | 1766 | 0 | 0
10 | New Work | Erection of 12.80 MTR Long Rail pole D/P for HTOH line | NOS | 13969 | 0 | 0
11 | New Work | Erection of 9 MTR Long PCC pole D/P for HTOH line | NOS | 9438 | 0 | 0
12 | New Work | Erection of 8 MTR Long PCC pole D/P for HTOH line | NOS | 6170 | 0 | 0
13 | New Work | Erection of 12.80 MTR Long Rail pole T/P for HTOH line | NOS | 23364 | 0 | 0
14 | New Work | Erection of 9 MTR Long PCC pole T/P for HTOH line | NOS | 16274 | 0 | 0
15 | New Work | Erection of 8 MTR Long PCC pole T/P for HTOH line | NOS | 12044 | 0 | 0
16 | New Work | Erection of 12.80 MTR Long Rail pole 4 P for HTOH line | NOS | 35717 | 0 | 0
17 | New Work | Erection of 9 MTR Long PCC pole 4 P for HTOH line | NOS | 27829.68 | 0 | 0
18 | New Work | Erection of 8 MTR Long PCC pole 4 P for HTOH line | NOS | 15312 | 0 | 0
19 | New Work | Extention of rail pole 3 mtr | NOS | 1862.95 | 0 | 0
20 | New Work | Extention of PCC pole up to 3 mtr with paint | NOS | 1706.38 | 0 | 0
21 | New Work | Sub-Stationn Str with 12.8 Mtr Rail pole DP | NOS | 16112 | 0 | 0
22 | New Work | Sub-Stationn Str with 9 Mtr PCC pole DP | NOS | 13169 | 0 | 0
23 | New Work | Sub-Stationn Str with 8 Mtr PCC pole DP | NOS | 10735 | 0 | 0
24 | New Work | Sub-Stationn Str with 8 Mtr PCC pole Four Pole | NOS | 19872 | 0 | 0
25 | New Work | Str & Sagg of 150 sqmm ACSR wolf X 3 wire | KM | 19208 | 0 | 0
26 | New Work | Str & Sagg of 150 sqmm ACSR wolf X 2 wire | KM | 14154 | 0 | 0
27 | New Work | Str & Sagg of 150 sqmm ACSR wolf X 1 wire | KM | 9246 | 0 | 0
28 | New Work | Str & Sagg of 100 sqmm ACSR Dog X 3 wire | KM | 16544 | 0 | 0
29 | New Work | Str & Sagg of 100 sqmm ACSR Dog X 2 wire | KM | 1233 | 0 | 0
30 | New Work | Str & Sagg of 100 sqmm ACSR Dog X 1 wire | KM | 8169 | 0 | 0
31 | New Work | Str & Sagg of 50 sqmm ACSR Rabbit X 4 wire | KM | 9715 | 0 | 0
32 | New Work | Str & Sagg of 50 sqmm ACSR Rabbit X 3 wire | KM | 8289 | 0 | 0
33 | New Work | Str & Sagg of 50 sqmm ACSR Rabbit X 2 wire | KM | 6184 | 0 | 0
34 | New Work | Str & Sagg of 50 sqmm ACSR Rabbit X 1 wire | KM | 2978 | 0 | 0
35 | New Work | Str & Sagg of 30 sqmm ACSR Weasel X 4 wire | KM | 8821 | 0 | 0
36 | New Work | Str & Sagg of 30 sqmm ACSR Weasel X 3 wire | KM | 7899 | 0 | 0
37 | New Work | Str & Sagg of 30 sqmm ACSR Weasel X 2 wire | KM | 5322 | 0 | 0
38 | New Work | Str & Sagg of 30 sqmm ACSR Weasel X 1 wire | KM | 2845 | 0 | 0
39 | New Work | Str & Sagg of 20 sqmm ACSR Squirrel X 4 wire | KM | 8432 | 0 | 0
40 | New Work | Str & Sagg of 20 sqmm ACSR Squirrel X 3 wire | KM | 7043 | 0 | 0
41 | New Work | Str & Sagg of 20 sqmm ACSR Squirrel X 2 wire | KM | 4873 | 0 | 0
42 | New Work | Str & Sagg of 20 sqmm ACSR Squirrel X 1 wire | KM | 2894 | 0 | 0
43 | New Work | Str & Sagg of 50 sqmm AAC ANT X 4 wire | KM | 7972 | 0 | 0
44 | New Work | Str & Sagg of 50 sqmm AAC ANT X 3 wire | KM | 6882 | 0 | 0
45 | New Work | Str & Sagg of 50 sqmm AAC ANT X 2 wire | KM | 4864 | 0 | 0
46 | New Work | Str & Sagg of 50 sqmm AAC ANT X 1 wire | KM | 2815 | 0 | 0
47 | New Work | Str & Sagg of 25 sqmm AAC GNAT X 4 wire | KM | 7136 | 0 | 0
48 | New Work | Str & Sagg of 25 sqmm AAC GNAT X 3 wire | KM | 6301 | 0 | 0
49 | New Work | Str & Sagg of 25 sqmm AAC GNAT X 2 wire | KM | 4412 | 0 | 0
50 | New Work | Str & Sagg of 25 sqmm AAC GNAT X 1 wire | KM | 2435 | 0 | 0
51 | New Work | Str & Sagg of GI Wire X 1 wire | KM | 1592 | 0 | 0
52 | New Work | Erection of 10 & 16 KVA DTR | NOS | 1885 | 0 | 0
53 | New Work | Erection of 25 KVA DTR | NOS | 1925 | 0 | 0
54 | New Work | Erection of 63 KVA DTR | NOS | 2711 | 0 | 0
55 | New Work | Erection of 100 KVA DTR | NOS | 3214 | 0 | 0
56 | New Work | Erection of 160 KVA DTR | NOS | 3406 | 0 | 0
57 | New Work | Erection of 315 KVA DTR | NOS | 7248 | 0 | 0
58 | New Work | Fixing of CG Bracket on SP | NOS | 237 | 0 | 0
59 | New Work | Fixing of CG Bracket on DP | NOS | 369 | 0 | 0
60 | New Work | Fixing of Lead wire upto 30 Mtr 2 wire | NOS | 256 | 0 | 0
61 | New Work | Fixing of Lead wire upto 30 Mtr 4 wire | NOS | 357 | 0 | 0
62 | New Work | Fixing of Lead wire upto 60 Mtr 2 wire | NOS | 312 | 0 | 0
63 | New Work | Fixing of Lead wire upto 60 Mtr 4 wire | NOS | 469 | 0 | 0
64 | New Work | Fixing of Lead wire upto 100 Mtr 2 wire | NOS | 506 | 0 | 0
65 | New Work | Fixing of Lead wire upto 100 Mtr 4 wire | NOS | 746 | 0 | 0
66 | New Work | Making & Fixing of Cross Lessing | NOS | 15 | 0 | 0
67 | New Work | Fixing of 11 KV Pin Insulator | NOS | 63 | 0 | 0
68 | New Work | Fixing of 33 KV Pin Insulator | NOS | 72 | 0 | 0
69 | New Work | Fixing of 11 KV Disc Insulator | NOS | 65 | 0 | 0
70 | New Work | Fixing of 33 KV Disc Insulator | NOS | 107 | 0 | 0
71 | New Work | Fixing of LT shackle Insulator | NOS | 52 | 0 | 0
72 | New Work | Fixing of LT CI reel Insulator | NOS | 46 | 0 | 0
73 | New Work | Erection of HT Stay Set | NOS | 641 | 0 | 0
74 | New Work | Erection of LT Stay Set | NOS | 555 | 0 | 0
75 | New Work | Erection of Earth Spike | NOS | 313 | 0 | 0
76 | New Work | Fixing of Caution Board | NOS | 24 | 0 | 0
77 | New Work | Numbering of Pole | NOS | 24 | 0 | 0
78 | New Work | Fixing of Safey Device | NOS | 35 | 0 | 0
79 | New Work | Fixing of Angle Iron Bracket with paint | NOS | 605 | 0 | 0
80 | New Work | Fixing of LT Box Bracket | NOS | 1433 | 0 | 0
81 | New Work | Fixing of 33KV CR type isolator w/o E.SW | NOS | 5200 | 0 | 0
82 | New Work | TPGO Isl fixing | NOS | 1193 | 0 | 0
83 | New Work | TPGO Isl fixing on On line DP | NOS | 3199 | 0 | 0
84 | New Work | Fixing of LA Set | SET | 339 | 0 | 0
85 | New Work | Fixing of LA Set & Fabrication of structure 33KV | SET | 1045 | 0 | 0
86 | New Work | Fixing of Main Switch 1 Feeder | NOS | 1081 | 0 | 0
87 | New Work | Fixing of Main Switch 2 Feeder | NOS | 1636 | 0 | 0
88 | New Work | Fixing of LT kiosk 1 Feeder | NOS | 2238 | 0 | 0
89 | New Work | Fixing of LT kiosk 2 Feeder | NOS | 3100 | 0 | 0
90 | New Work | Tee-Off Bracket on SP | NOS | 1510 | 0 | 0
91 | New Work | Tee-Off Bracket on DP | NOS | 1498 | 0 | 0
92 | New Work | Rail Pole cutting | NOS | 394 | 0 | 0
93 | New Work | Making hole in rail pole | NOS | 110 | 0 | 0
94 | New Work | Fixing Dead end/tention including compression joint fro wolf | NOS | 201 | 0 | 0
95 | New Work | Fixing suspension clamp in wolf | NOS | 30 | 0 | 0
96 | New Work | Jumpering for wolf conductor with compression | NOS | 148 | 0 | 0
97 | New Work | jointing of wolf conductor by compresion | NOS | 224 | 0 | 0
98 | New Work | Muffing for steel tubelar pole | NOS | 774 | 0 | 0
99 | New Work | LT Spacer 1ph Unit | NOS | 37 | 0 | 0
100 | New Work | LT Spacer 3ph Unit | NOS | 56 | 0 | 0
101 | AB Cable | Str & Sagg LT AB Cable 3X70+1X16+1X50SQMM | KM | 50000 | 0 | 0
102 | AB Cable | Str & Sagg LT AB Cable 3X50+1X16+1X35SQMM | KM | 46000 | 0 | 0
103 | AB Cable | Str & Sagg LT AB Cable 3X50+1X35SQMM | KM | 29000 | 0 | 0
104 | AB Cable | Erection of lt anchor clamp | NOS | 154 | 0 | 0
105 | AB Cable | Erection of lt Suspension clamp | NOS | 154 | 0 | 0
106 | AB Cable | Erection of percing connector of DCDB box | NOS | 32 | 0 | 0
107 | AB Cable | Erection of DCDB box | NOS | 507 | 0 | 0
108 | O & M work | Erection of Bimetallic crimping Type water proof LUG for 16/50/35/70 Sqmm power Cable(1set=4nos) | NOS | 59 | 0 | 0
109 | AB Cable | Re str & sagg/return to store of LT AB Cable | km | 13000 | 0 | 0
110 | AB Cable | Replacement of DCDB box | NOS | 440 | 0 | 0
111 | AB Cable | Replacement of Anchor/suspension clamp | NOS | 117 | 0 | 0
112 | AB Cable | Str & Sagg HT AB Cable 3X95+1X180 SQMM | KM | 48000 | 0 | 0
113 | AB Cable | Str & Sagg HT AB Cable 3X50+1X105 SQMM | KM | 41000 | 0 | 0
114 | AB Cable | Erection of HT anchor clamp/Suspension clamp | NOS | 259 | 0 | 0
115 | AB Cable | Dismantaling & return to store HT AB Cable 3X95+1X180 SQMM | KM | 22000 | 0 | 0
116 | AB Cable | Dismantaling & return to store HT AB Cable 3X50+1X105 SQMM | KM | 21000 | 0 | 0
117 | AB Cable | Re str & sagg of HT AB Cable | km | 16000 | 0 | 0
118 | AB Cable | Replacement of Anchor/suspension clamp for HT | NOS | 293 | 0 | 0
119 | AB Cable | Outdoor termination of HT AB Cable | SET | 1272 | 0 | 0
120 | AB Cable | Straight through termination of HT AB Cable | SET | 1274 | 0 | 0
121 | AB Cable | TEE Joint of HT AB Cable | set | 1281 | 0 | 0
122 | O & M work | 10/16/25 KVA DTR Dismantal & return to store | NOS | 918 | 0 | 0
123 | O & M work | 63 KVA DTR Dismantal & return to store | NOS | 1203 | 0 | 0
124 | O & M work | 100 KVA DTR Dismantal & return to store | NOS | 1489 | 0 | 0
125 | O & M work | 250/315/160 KVA DTR Dismantal & return to store | NOS | 2978 | 0 | 0
126 | O & M work | 16 KVA DTR Replacement & return to store | NOS | 1846 | 0 | 0
127 | O & M work | 25 KVA DTR Relpacement & return to store | NOS | 2141 | 0 | 0
128 | O & M work | 63 KVA DTR Relpacement & return to store | NOS | 2808 | 0 | 0
129 | O & M work | 100 KVA DTR Relpacement & return to store | NOS | 3141 | 0 | 0
130 | O & M work | 250/315/160 KVA DTR Repacement & return to store | NOS | 6546 | 0 | 0
131 | O & M work | 10 KVA Replaced by 25 KVA & return the old DTR to Store | NOS | 2205 | 0 | 0
132 | O & M work | 25 KVA Replaced by 63KVA & return the old DTR to Store | NOS | 2665 | 0 | 0
133 | O & M work | 63KVA Replaced by 100 KVA & return the old DTR to Store | NOS | 2998 | 0 | 0
134 | O & M work | 100 KVA Replaced by 250/315 KVA & return the old DTR to Store | NOS | 5087 | 0 | 0
135 | O & M work | Straightning of PCC pole 8mtr | NOS | 292 | 0 | 0
136 | O & M work | Straightning of PCC pole 9mtr | NOS | 408 | 0 | 0
137 | O & M work | Straightning of RAil pole 12.8 mtr | NOS | 483 | 0 | 0
138 | O & M work | Dismantaling & Return to store HT Bracket/Top adpt in 11 KV | NOS | 150 | 0 | 0
139 | O & M work | Fixing new pole V bracket+ Top adoptor in 33 KV | NOS | 388 | 0 | 0
140 | O & M work | Re Fixing of 11 KV pin insulator | NOS | 53 | 0 | 0
141 | O & M work | Re-Fixing of 11 KV disc insulator | NOS | 53 | 0 | 0
142 | O & M work | Re-Fixing the 33 KV pin insulator | NOS | 61 | 0 | 0
143 | O & M work | Re-Fixing the 33 KV Disc insulator | NOS | 72 | 0 | 0
144 | O & M work | Re-Fixing of LT Shackle insulator | NOS | 38 | 0 | 0
145 | O & M work | Re-earthing by GI wire | Nos | 41 | 0 | 0
146 | O & M work | Stay set rectification | nos | 122 | 0 | 0
147 | O & M work | Re-sag of CG 2 wire 30-60 Mtr | NOS | 111 | 0 | 0
148 | O & M work | Re-sag of CG 2 wire above 60 Mtr | NOS | 139 | 0 | 0
149 | O & M work | Re-fixing of cross lessing | NOS | 8.93 | 0 | 0
150 | O & M work | Re-sagg of ACSR 100 SQmm by 3 wire(1.8/2.4/3) (1876.00/wire) | KM | 4502.4 | 0 | 0
151 | O & M work | Re-sagg of ACSR 50 SQmm by 1 wire(1.8/2.4/3) (712/W) | KM | 1708.8 | 0 | 0
152 | O & M work | Re-sagg of ACSR 30/20 SQmm by 1 wire(1.8/2.4/3) (688/W) | KM | 1651.2 | 0 | 0
153 | O & M work | Dismantling & return to store of ACSR 100 SQmm by 1 wire(1.8/2.4/3)(3001/Wire) | KM | 7202.4 | 0 | 0
154 | O & M work | Dismantling & return to store of ACSR 50 SQmm by 1 wire(1.8/2.4/3) (1139/Wire) | KM | 1139 | 0 | 0
155 | O & M work | Dismantling & return to store of ACSR 30/20 SQmm by 4 wire(1.8/2.4/3) (1101/Wire) | KM | 3303 | 0 | 0
156 | O & M work | Re installation of 33 KV Isolator | NOS | 1757 | 0 | 0
157 | O & M work | Re installation of 11 KV Isolator | NOS | 1717 | 0 | 0
158 | O & M work | Re-fixing of Service connection Dom/Com | NOS | 150 | 0 | 0
159 | O & M work | Re-fixing of Service connection IND | NOS | 193 | 0 | 0
160 | O & M work | Dismantling & return to storeof Service connection 1ph | NOS | 245 | 0 | 0
161 | O & M work | Dismantling & return to storeof Service connection 3ph | NOS | 306 | 0 | 0
162 | O & M work | Replacement of un serviceable service cable | NOS | 230 | 0 | 0
163 | O & M work | Dismantal & re fixing of TPGO ISL 11 KV by new one & return the old | NOS | 1717 | 0 | 0
164 | O & M work | Dismantal & re fixing of TPGO ISL 33 KV by new one & return the old | NOS | 2328 | 0 | 0
165 | O & M work | Uprooting & return to store rail pole | NOS | 1000 | 0 | 0
166 | O & M work | Uprooting & return to store PCC pole 9 mtr | NOS | 594 | 0 | 0
167 | O & M work | Uprooting & return to store PCC pole 8 mtr | NOS | 383 | 0 | 0
168 | O & M work | Re-fixing of LT iron Bracket | NOS | 487 | 0 | 0
169 | O & M work | Re-fixing of LT kiosk 1 feeder | NOS | 342 | 0 | 0
170 | O & M work | Re-fixing of LT kiosk 2 feeder | NOS | 458 | 0 | 0
171 | O & M work | Broken DP 8mtr replacement | NOS | 2935 | 0 | 0
172 | O & M work | Broken 4P 8mtr replacement | NOS | 5074 | 0 | 0
173 | O & M work | Broken DP 9mtr replacement | NOS | 4491 | 0 | 0
174 | O & M work | Broken 4P 9mtr replacement | NOS | 9535 | 0 | 0
175 | O & M work | Broken SP 8mtr replacement | NOS | 1876 | 0 | 0
176 | O & M work | Broken SP 9mtr replacement | NOS | 2851 | 0 | 0
177 | O & M work | Broken SP 12.8 mtr rail pole replacement | NOS | 4794 | 0 | 0
178 | O & M work | conversion exixting pole to sub-station DP 8 mtr | NOS | 8969 | 0 | 0
179 | O & M work | conversion exixting pole to sub-station DP 9 mtr | NOS | 10549 | 0 | 0
180 | O & M work | conversion exixting pole to sub-station DP 12.8 mtr rail pole | NOS | 11455 | 0 | 0
181 | O & M work | conversion exixting D pole to 4P on 8 mtr PCC pole | NOS | 9137 | 0 | 0
182 | O & M work | Service connection fixing without meter 1ph | NOS | 308 | 0 | 0
183 | O & M work | Service connection fixing with meter 1ph | NOS | 504 | 0 | 0
184 | O & M work | Service connection fixing with meter 3ph | NOS | 570 | 0 | 0
185 | O & M work | Fixing of CUT-out inplace of Mainswitch 1ckt | NOS | 630 | 0 | 0
186 | O & M work | Fixing of CUT-out inplace of Mainswitch 2ckt | NOS | 1037 | 0 | 0
187 | O & M work | Fixing of 3 ph energy meter with PPM Box with all allied works | NOS | 676 | 0 | 0
188 | O & M work | Replacement of 3 ph energy meter with PPM Box with all allied works | NOS | 884 | 0 | 0
189 | O & M work | Fixing of 1 ph energy meter with PPM Box with all allied works | NOS | 295 | 0 | 0
190 | O & M work | Replacement of 1 ph energy meter with PPM Box with all allied works | NOS | 454 | 0 | 0
191 | O & M work | Only replacement of Defective meter 1ph with PPM box | NOS | 153 | 0 | 0
192 | O & M work | Only replacement of Defective meter 1ph without PPM box | NOS | 122 | 0 | 0
193 | O & M work | Only replacement of Defective meter 3ph with PPM box | NOS | 204 | 0 | 0
194 | O & M work | Only replacement of Defective meter 3ph without PPM box | NOS | 153 | 0 | 0
195 | O & M work | Dis connection/Re-connection of 1ph meter | NOS | 65 | 0 | 0
196 | O & M work | Dis connection/Re-connection of 3ph meter | NOS | 88 | 0 | 0
197 | O & M work | Walk over survey for varjin mouzas | km | 130 | 0 | 0
198 | O & M work | Returnable cost of damage wooden pole | NOS | 402 | 0 | 0
199 | UG CABLE | Survey of HT & LT cable Route & submission of route survey drawing | KM | 2700 | 0 | 0
200 | UG CABLE | Excatation of Soil for making Trial hole(1.1MX.5MX1.2M)(new) | CUM | 34 | 0 | 0
201 | UG CABLE | Excavation of soil for formation of Cable trenches & reinstatement of soil | cum | 20 | 0 | 0
202 | UG CABLE | Excatation of Soil by cutting of metal or concrete for reinstallment of cable(new)(CUM converted to KM) | KM | 93060 | 0 | 0
203 | UG CABLE | Excatation of Soil for reinstallment of cable(Esixting)(CUM converted to KM) | KM | 16500 | 0 | 0
204 | UG CABLE | Excatation of Soil by cutting of metal or concrete for reinstallment of cableEsixting)(CUM converted to KM) | KM | 82500 | 0 | 0
205 | UG CABLE | Supply & laying of RCC Spun Pipe 150 mmm dia (6 inch) | KM | 557400 | 0 | 0
206 | UG CABLE | Supply & laying of RCC Spun Pipe 225 mmm dia (9 inch) | KM | 600000 | 0 | 0
207 | UG CABLE | Supply of 1st Class Brick | Nos | 7.38 | 0 | 0
208 | UG CABLE | Laying of Bricks | Nos | 1.12 | 0 | 0
209 | UG CABLE | Laying & Dressing of 11 KV XLPE/PILC 3CX35/50/70 Sqmm Cable | KM | 35000 | 0 | 0
210 | UG CABLE | Laying & Dressing of 11 KV XLPE/PILC 3CX95/120 Sqmm Cable | KM | 42000 | 0 | 0
211 | UG CABLE | Laying & Dressing of 11 KV XLPE/PILC 3CX185/240 Sqmm Cable | KM | 52000 | 0 | 0
212 | UG CABLE | Laying & Dressing of 11 KV XLPE/PILC 3CX300/400 Sqmm Cable | KM | 62000 | 0 | 0
213 | UG CABLE | Laying & Dressing of 1.1 KV PVC/XLPE 2x10,4x10/16, 3.5/4x25 Sqmm Cable | KM | 15000 | 0 | 0
214 | UG CABLE | Laying & Dressing of 1.1 KV PVC/XLPE 3.5/4x35/50/70 Sqmm Cable | KM | 24000 | 0 | 0
215 | UG CABLE | Laying & Dressing of 1.1 KV PVC/XLPE 3.5/4x95/120 Sqmm Cable | KM | 31000 | 0 | 0
216 | UG CABLE | Laying & Dressing of 1.1 KV PVC/XLPE 3.5/4x185/225/240 Sqmm Cable | KM | 39000 | 0 | 0
217 | UG CABLE | Laying & Dressing of 1.1 KV PVC/XLPE 3.5/4x300/400 Sqmm Cable | KM | 50000 | 0 | 0
218 | UG CABLE | Making Straight Through Joint of 11 KV XLPE/PILC 3CX95/120 Sqmm Cable | Nos | 1604 | 0 | 0
219 | UG CABLE | Making Straight Through Joint of 11 KV XLPE/PILC 3CX185/240 Sqmm Cable | Nos | 2037 | 0 | 0
220 | UG CABLE | Making Straight Through Joint of 11 KV XLPE/PILC 3CX300/400 Sqmm Cable | Nos | 2150 | 0 | 0
221 | UG CABLE | Making Straight Through Joint of LT 1.1 KV XLPE/PVC 2CX10,4CX10/16, 3.5C/4CX25 Sqmm Cable | Nos | 569 | 0 | 0
222 | UG CABLE | Making Straight Through Joint of LT 1.1 KV XLPE/PVC 3.5/4CX35/50/70 Sqmm Cable | Nos | 576 | 0 | 0
223 | UG CABLE | Making Straight Through Joint of LT 1.1 KV XLPE/PVC 3.5/4CX95/120 Sqmm Cable | Nos | 787 | 0 | 0
224 | UG CABLE | Making Straight Through Joint of LT 1.1 KV XLPE/PVC 3.5/4CX185/225/240 Sqmm Cable | Nos | 894 | 0 | 0
225 | UG CABLE | Making Straight Through Joint of LT 1.1 KV XLPE/PVC 3.5/4CX300/400 Sqmm Cable | Nos | 1027 | 0 | 0
226 | UG CABLE | T Cum Straight through of LT 1.1 KV XLPE/PVC 2CX10,4CX10/16, 3.5C/4CX25 Sqmm Cable | Nos | 629 | 0 | 0
227 | UG CABLE | T Cum Straight through of LT 1.1 KV XLPE/PVC 3.5/4CX35/50/70 Sqmm Cable | Nos | 926 | 0 | 0
228 | UG CABLE | T Cum Straight through of LT 1.1 KV XLPE/PVC 3.5/4CX95/120 Sqmm Cable | Nos | 1023 | 0 | 0
229 | UG CABLE | T Cum Straight through of LT 1.1 KV XLPE/PVC 3.5/4CX185/225/240 Sqmm Cable | Nos | 1213 | 0 | 0
230 | UG CABLE | T Cum Straight through of LT 1.1 KV XLPE/PVC 3.5/4CX300/400 Sqmm Cable | Nos | 1258 | 0 | 0
231 | UG CABLE | End Termination ID/OD of 11 KV XLPE/PILC 3CX95/120 Sqmm Cable | Nos | 1369 | 0 | 0
232 | UG CABLE | End Termination ID/OD of 11 KV XLPE/PILC 3CX185/240 Sqmm Cable | Nos | 1685 | 0 | 0
233 | UG CABLE | End Termination ID/OD of 11 KV XLPE/PILC 3CX300/400 Sqmm Cable | Nos | 2023 | 0 | 0
234 | UG CABLE | End Termination ID/OD of LT 1.1 KV XLPE/PVC 2CX10,4CX10/16, 3.5C/4CX25 Sqmm Cable | Nos | 186 | 0 | 0
235 | UG CABLE | End Termination ID/OD of LT 1.1 KV XLPE/PVC 3.5/4CX35/50/70 Sqmm Cable | Nos | 337 | 0 | 0
236 | UG CABLE | End Termination ID/OD of LT 1.1 KV XLPE/PVC 3.5/4CX95/120 Sqmm Cable | Nos | 547 | 0 | 0
237 | UG CABLE | End Termination ID/OD of LT 1.1 KV XLPE/PVC 3.5/4CX185/225/240 Sqmm Cable | Nos | 923 | 0 | 0
238 | UG CABLE | End Termination ID/OD of LT 1.1 KV XLPE/PVC 3.5/4CX300/400 Sqmm Cable | Nos | 1144 | 0 | 0
239 | UG CABLE | Making Protective Duct for cable joint complete as per WBSEDCL approved Drawing(DRG No-PLN(D)/SS/106 Date:05.05.2015) | Nos | 8991 | 0 | 0
240 | UG CABLE | Supply & Erection of Cable Marker | Nos | 300 | 0 | 0
241 | UG CABLE | Supply and fixing of GI pipe non TATA 50 mm Dia | Mtr | 461 | 0 | 0
242 | UG CABLE | Supply and fixing of GI pipe non TATA 100 mm Dia | Mtr | 777 | 0 | 0
243 | UG CABLE | Supply and fixing of GI pipe non TATA 150 mm Dia | Mtr | 1152 | 0 | 0
244 | UG CABLE | Making RCC/Cement Plinth/Foundation for 630 KVA DTR | Nos | 14758 | 0 | 0
245 | UG CABLE | Making RCC/Cement Plinth/Foundation for 315/250 KVA DTR | Nos | 12049 | 0 | 0
246 | UG CABLE | Making RCC/Cement Plinth/Foundation for L& MV Kiosk | Nos | 10235 | 0 | 0
247 | UG CABLE | Making RCC/Cement Plinth/Foundation for Distribution Feeder Piller Box | Nos | 9237 | 0 | 0
248 | UG CABLE | Making RCC/Cement Plinth/Foundation for Distribution Block Junction Box/Plot Junction box | Nos | 4751 | 0 | 0
249 | UG CABLE | Making RCC/Cement Plinth/Foundation for Distribution Service Junction box | Nos | 3676 | 0 | 0
250 | UG CABLE | Making RCC/Cement Plinth/Foundation for Streect light Feeder Piller Box | Nos | 3197 | 0 | 0
251 | UG CABLE | Making RCC/Cement Plinth/Foundation for O/D 11 KV 250/350 MVA 400/630A,3/4 way RMU | Nos | 12794 | 0 | 0
252 | UG CABLE | Erection on Exixting Plinth/Foundation for 630 KVA DTR | Nos | 14433 | 0 | 0
253 | UG CABLE | Erection on Exixting Plinth/Foundation for 315/250 KVA DTR | Nos | 7248 | 0 | 0
254 | UG CABLE | Erection on Exixting Plinth/Foundation for L& MV Kiosk | Nos | 1441 | 0 | 0
255 | UG CABLE | Erection on Exixting Plinth/Foundation for Distribution Feeder Piller Box | Nos | 1499 | 0 | 0
256 | UG CABLE | Erection on Exixting Plinth/Foundation for Distribution Block Junction Box/Plot Junction box | Nos | 696 | 0 | 0
257 | UG CABLE | Erection on Exixting Plinth/Foundation for Streect light Feeder Piller Box | Nos | 897 | 0 | 0
258 | UG CABLE | Erection on Exixting Plinth/Foundation L& MV Metering Kiosk(LT Bulk Consumer) | Nos | 2155 | 0 | 0
259 | UG CABLE | Earthing Arrangement with 3 mtr long 50 mm dia earth pipe & 2 nos GI flat 40X6 mm by welding complete | NOS | 5038 | 0 | 0
260 | UG CABLE | Erection of I/D 11 KV 250/350 MVA 400/630 A 3 way RMU, metering /non metering oCB VCB on Exixting Plinth | set | 10626 | 0 | 0
261 | UG CABLE | Erection of O/D 11 KV 250/350 MVA 400/630 A 3 way RMU, metering /non metering oCB VCB on Exixting Plinth | set | 9787 | 0 | 0
262 | UG CABLE | Erection of I/D 11 KV 250/350 MVA 400/630 A 3 way RMU, metering /non metering oCB VCB | set | 12372 | 0 | 0
263 | UG CABLE | Erection of O/D 11 KV 250/350 MVA 400/630 A 3 way RMU, metering /non metering oCB VCB | set | 11532 | 0 | 0
264 | UG CABLE | Erection of Shunt/ Series Trip I/D 11 KV 250/350 MVA, 400/800/1250 A metering/ non metering OCB VCB | Nos | 6628 | 0 | 0
265 | UG CABLE | Drying out of 11 KV 3/4 way RMU/Single panel metering CT PT etc for improving of insulation value upto the suitable value | set | 928 | 0 | 0
266 | UG CABLE | Special Arrangement for covering of the 11 KV end jointing portion at 11 KV ISL or OCB,VCB | Nos | 1698 | 0 | 0
267 | UG CABLE | Extention of cable end jointing box of Transformer HV side | Nos | 1698 | 0 | 0
268 | UG CABLE | De-compounding of 11 KV cable joint end joint box & clening of the box suitable for further use | Nos | 1054 | 0 | 0
269 | UG CABLE | Making Jointing PIT only for 11 KV by excation of soil for making Uprooting & return to storet(laying of platform with brick,temporary tent arrangement) | Nos | 998 | 0 | 0
270 | UG CABLE | Making Jointing PIT only for 1.1 KV excation of soil for making Uprooting & return to storet(laying of platform with brick,temporary tent arrangement) | Nos | 368 | 0 | 0
271 | UG CABLE | Lifting & Checking for fault detectof 11 KV XLPE/PILC 3CX35/50/70 Sqmm Cable | KM | 25000 | 0 | 0
272 | UG CABLE | Lifting & Checking for fault detectof 11 KV XLPE/PILC 3CX95/120 Sqmm Cable | KM | 29000 | 0 | 0
273 | UG CABLE | Lifting & Checking for fault detectof 11 KV XLPE/PILC 3CX185/240 Sqmm Cable | KM | 38000 | 0 | 0
274 | UG CABLE | Lifting & Checking for fault detectof 11 KV XLPE/PILC 3CX300/400 Sqmm Cable | KM | 46000 | 0 | 0
275 | UG CABLE | Lifting & Checking for fault detectof LT 1.1 KV XLPE/PVC 2CX10,4CX10/16, 3.5C/4CX25 Sqmm Cable | KM | 17000 | 0 | 0
276 | UG CABLE | Lifting & Checking for fault detectof LT 1.1 KV XLPE/PVC 3.5/4CX35/50/70 Sqmm Cable | KM | 29000 | 0 | 0
277 | UG CABLE | Lifting & Checking for fault detectof LT 1.1 KV XLPE/PVC 3.5/4CX95/120 Sqmm Cable | KM | 34000 | 0 | 0
278 | UG CABLE | Lifting & Checking for fault detectof LT 1.1 KV XLPE/PVC 3.5/4CX185/225/240 Sqmm Cable | KM | 36000 | 0 | 0
279 | UG CABLE | Lifting & Checking for fault detectof LT 1.1 KV XLPE/PVC 3.5/4CX300/400 Sqmm Cable | KM | 50000 | 0 | 0
280 | UG CABLE | Re-Laying & Dressing of existing healthy portion of 11 KV XLPE/PILC 3CX95/120 Sqmm Cable | KM | 31000 | 0 | 0
281 | UG CABLE | Re-Laying & Dressing of existing healthy portion of 11 KV XLPE/PILC 3CX185/240 Sqmm Cable | KM | 35000 | 0 | 0
282 | UG CABLE | Re-Laying & Dressing of existing healthy portion of 11 KV XLPE/PILC 3CX300/400 Sqmm Cable | KM | 43000 | 0 | 0
283 | UG CABLE | Re-Laying & Dressing of existing healthy portion of LT 1.1 KV XLPE/PVC 2CX10,4CX10/16, 3.5C/4CX25 Sqmm Cable | KM | 15000 | 0 | 0
284 | UG CABLE | Re-Laying & Dressing of existing healthy portion of LT 1.1 KV XLPE/PVC 3.5/4CX35/50/70 Sqmm Cable | KM | 21000 | 0 | 0
285 | UG CABLE | Re-Laying & Dressing of existing healthy portion of LT 1.1 KV XLPE/PVC 3.5/4CX95/120 Sqmm Cable | KM | 27000 | 0 | 0
286 | UG CABLE | Re-Laying & Dressing of existing healthy portion of LT 1.1 KV XLPE/PVC 3.5/4CX185/225/240 Sqmm Cable | KM | 31000 | 0 | 0
287 | UG CABLE | Re-Laying & Dressing of existing healthy portion of LT 1.1 KV XLPE/PVC 3.5/4CX300/400 Sqmm Cable | KM | 42000 | 0 | 0
288 | UG CABLE | Dismantling & return to store L&MV Kiosk Box | Nos | 797 | 0 | 0
289 | UG CABLE | Dismantling & return to store SJB/JB/Street light feeder piller Box | Nos | 587 | 0 | 0
290 | UG CABLE | Demolishing of exixting plinth including removal form work site L&MV Kiosk Box | Nos | 860 | 0 | 0
291 | UG CABLE | Demolishing of exixting plinth including removal form work site SJB/JB/Street light feeder piller Box | Nos | 410 | 0 | 0
292 | UG CABLE | Fitting & Fixing in complete MCCB 400A and Above | set | 928 | 0 | 0
293 | UG CABLE | Fitting & Fixing in complete Mainswitch Rating 200A & Above | set | 1138 | 0 | 0
294 | UG CABLE | Fitting & Fixing in complete Cutout set 200A & Above | set | 442 | 0 | 0
295 | UG CABLE | Fitting & Fixing in complete Cutout set 100A & below | set | 232 | 0 | 0
296 | UG CABLE | Dismentaling in complete MCCB 400A and Above | set | 337 | 0 | 0
297 | UG CABLE | Dismentaling in complete Mainswitch Rating 200A & Above | set | 295 | 0 | 0
298 | UG CABLE | Dismentaling in complete Cutout set 200A & Above | set | 189 | 0 | 0
299 | UG CABLE | Dismentaling in complete Cutout set 100A & below | set | 74 | 0 | 0
300 | UG CABLE | Supply & installtion of Bus-bar made of galvanized iron of sze 600X25X4mm with 5 nos Hole | Nos | 360 | 0 | 0
301 | UG CABLE | Supply & fixing of the cable Tag in cable | Nos | 48 | 0 | 0
302 | UG CABLE | Dismental of 11KV 250/350 MVA 400/630 A 3 way RMU, metering /non metering oCB VCB | set | 4794 | 0 | 0
303 | UG CABLE | Dismental of 11 KV 250/350 MVA, 400/800/1250 A metering/ non metering OCB VCB & return to store | set | 3447 | 0 | 0
304 | UG CABLE | Uprooting & return to store of 11 KV XLPE/PILC 3CX35-120 Sqmm Cable | KM | 31000 | 0 | 0
305 | UG CABLE | Uprooting & return to store of 11 KV XLPE/PILC 3CX150-240 Sqmm Cable | KM | 35000 | 0 | 0
306 | UG CABLE | Uprooting & return to storeof 11 KV XLPE/PILC 3CX300-400 Sqmm Cable | KM | 43000 | 0 | 0
307 | UG CABLE | Uprooting & reinstallation of 11 KV XLPE/PILC 3CX35-120 Sqmm Cable | KM | 77000 | 0 | 0
308 | UG CABLE | Uprooting & reinstallation of 11 KV XLPE/PILC 3CX150-240 Sqmm Cable | KM | 89000 | 0 | 0
309 | UG CABLE | Uprooting & reinstallation of 11 KV XLPE/PILC 3CX300-400 Sqmm Cable | KM | 117000 | 0 | 0
310 | UG CABLE | Uprooting & return to store LT 1.1 KV XLPE/PVC 2CX10,4CX10/16, 3.5C/4CX25 Sqmm Cable | KM | 8000 | 0 | 0
311 | UG CABLE | Uprooting & return to storet of LT 1.1 KV XLPE/PVC 3.5/4CX35/50/70 Sqmm Cable | KM | 10000 | 0 | 0
312 | UG CABLE | Uprooting & return to storet of LT 1.1 KV XLPE/PVC 3.5/4CX95/120 Sqmm Cable | KM | 13000 | 0 | 0
313 | UG CABLE | Uprooting & return to storet of LT 1.1 KV XLPE/PVC 3.5/4CX185/225/240 Sqmm Cable | KM | 15000 | 0 | 0
314 | UG CABLE | Uprooting & return to storet of LT 1.1 KV XLPE/PVC 3.5/4CX300/400 Sqmm Cable | KM | 17000 | 0 | 0
315 | UG CABLE | Uprooting & Re-installmentt of LT 1.1 KV XLPE/PVC 3.5/4CX35/50/70/95/120 Sqmm Cable | KM | 73000 | 0 | 0
316 | UG CABLE | Uprooting & Re-installmentt of LT 1.1 KV XLPE/PVC 3.5/4CX185/225/240 Sqmm Cable | KM | 94000 | 0 | 0
317 | UG CABLE | Uprooting & Re-installmentt of LT 1.1 KV XLPE/PVC 3.5/4CX300/400 Sqmm Cable | KM | 110000 | 0 | 0
318 | UG CABLE | Making end Terminationof LT 1.1 KV XLPE/PVC 3.5/4CX35/50/70 Sqmm Cable | Nos | 74 | 0 | 0
319 | UG CABLE | Making end Terminationof LT 1.1 KV XLPE/PVC 3.5/4CX95/120 Sqmm Cable | Nos | 146 | 0 | 0
320 | UG CABLE | Making end Terminationof LT 1.1 KV XLPE/PVC 3.5/4CX185/225/240 Sqmm Cable | Nos | 229 | 0 | 0
321 | UG CABLE | Making end Terminationof LT 1.1 KV XLPE/PVC 3.5/4CX300/400 Sqmm Cable | Nos | 271 | 0 | 0
322 | UG CABLE | De-compounding of 1.1 KV cable joint end joint box & clening of the box suitable for further use | Nos | 420 | 0 | 0
323 | UG CABLE | Laying of HDPE pipe as per Micro-Tunneling work for laying of UG cable including supply of 160 mm dia HDPE pipe | KM | 1588000 | 0 | 0
324 | UG CABLE | Laying of HDPE pipe as per Micro-Tunneling work for laying of UG cable including supply of 110 mm dia HDPE pipe | KM | 1116000 | 0 | 0
325 | UG CABLE | Laying of HDPE pipe as per jack push method for laying of UG cable including supply of 160 mm dia HDPE pipe | KM | 1323000 | 0 | 0
326 | UG CABLE | Laying of HDPE pipe as per jack push method for laying of UG cable including supply of 110 mm dia HDPE pipe | KM | 987000 | 0 | 0
327 | UG CABLE | Laying & Dressing of 11 KV XLPE/PILC 3CX185 Sqmm Cable & below 2 nos cable in a trench | KM | 66000 | 0 | 0
328 | UG CABLE | Laying & Dressing of 11 KV XLPE/PILC 3CX240 Sqmm Cable & above 2 nos cable in a trench | KM | 86000 | 0 | 0
329 | UG CABLE | Laying & Dressing of 11 KV XLPE/PILC 3CX85 Sqmm Cable & below more than 2 nos cable in a trench | KM | 101000 | 0 | 0
330 | UG CABLE | Laying & Dressing of 11 KV XLPE/PILC 3CX240 Sqmm Cable & above more than 2 nos cable in a trench | KM | 124000 | 0 | 0
331 | UG CABLE | Laying & Dressing of 1.1 KV XLPE/PILC 185 Sqmm Cable & below 2 nos cable in a trench | KM | 50000 | 0 | 0
332 | UG CABLE | Laying & Dressing of 1.1 KV XLPE/PILC 240 Sqmm Cable & above 2 nos cable in a trench | KM | 62000 | 0 | 0
333 | UG CABLE | Laying & Dressing of 1.1 KV XLPE/PILC 185 Sqmm Cable & below more than 2 nos cable in a trench | KM | 97000 | 0 | 0
334 | UG CABLE | Laying & Dressing of 1.1 KV XLPE/PILC 240 Sqmm Cable & abovemore than 2 nos cable in a trench | KM | 89000 | 0 | 0
335 |  | GI pipe earthing with supply of all materials | Nos | 3816 | 0 | 0
336 | UG 33KV | Survey of HT & LT Cable with inscribing different landmarks | Mtr | 3 | 0 | 0
337 | UG 33KV | Excavation of Soil for making trial Hole (Minm Size 1.1x.5x1.2d) | cum | 34 | 0 | 0
338 | UG 33KV | Excavation of Soil for formation of Cable Trenches & Reinstallment | cum | 21 | 0 | 0
339 | UG 33KV | Excavation of Soil by cutting metallic road/cement/brick &Reinstallment | cum | 154 | 0 | 0
340 | UG 33KV | Excavation of soil along the exist cable route for formation of cable trenches with uprooting covers | cum | 27 | 0 | 0
341 | UG 33KV | Excavation of Soil by cutting metallic road/cement/brick &Reinstallment massenery/chequered plate | cum | 138 | 0 | 0
342 | UG 33KV | Supply & laying RCC Spun Pipe (NP-3) -150mm Dia | Mtr | 557 | 0 | 0
343 | UG 33KV | Supply & laying RCC Spun Pipe (NP-3) -225mm Dia | Mtr | 600 | 0 | 0
344 | UG 33KV | Supply of having proper size (Burdwan) | NOS | 7.381 | 0 | 0
345 | UG 33KV | laying of Bricks as per instriction of Site Engineer | NOS | 1.12 | 0 | 0
346 | UG 33KV | Laying & Dressing 33KV XLPE- 3x185/240 sq mm | Mtr | 65 | 0 | 0
347 | UG 33KV | Laying & Dressing 33KV XLPE- 3x300/400 sq mm | Mtr | 75 | 0 | 0
348 | UG 33KV | Making Straight/Transition joint 33KV XLPE Without Supply-3x185/240 sq mm | Nos | 2266 | 0 | 0
349 | UG 33KV | Making Straight/Transition joint 33KV XLPE Without Supply-3x300/400 sq mm | Nos | 2377 | 1 | 2377
350 | UG 33KV | Making End Termination ID/OD for 33KV XLPE-3x185/240 sq mm | Nos | 1880 | 0 | 0
351 | UG 33KV | Making End Termination ID/OD for 33KV XLPE-3x300/400 sq mm | Nos | 2200 | 0 | 0
352 | UG 33KV | Making protective Duct for cable joint complete as per WBSEDCL approved Drawing(DRG No-PLN(D)/SS/127 Date:23.06.2015) | Nos | 9154 | 0 | 0
353 | UG 33KV | Supply& Erection of Cast Iron Cable Marker on Concrete foundation | Nos | 300 | 0 | 0 | 300
354 | UG 33KV | Supply & Fixing of G.I Pipe (Medium)-150mm Dia TATA | Mtr | 1360 | 0 | 0
355 | UG 33KV | Supply & Fixing of G.I Pipe (Medium)-200mm Dia TATA/Jindal/EQV | Mtr | 2077 | 0 | 0
356 | UG 33KV | Making of Jointing Pit only by excavation of soil making strainght trrough including laying bricks | Nos | 1077 | 0 | 0
357 | UG 33KV | Lifting & Checking 33KV XLPE- 3x185/240 sq mm | Mtr | 48 | 0 | 0
358 | UG 33KV | Lifting & Checking 33KV XLPE- 3x300/400 sq mm | Mtr | 56 | 0 | 0
359 | UG 33KV | Relaying & Dressing Of Healthy 33 KV XLPE-3x185/240 sq mm | Mtr | 44 | 0 | 0
360 | UG 33KV | Relaying & Dressing Of Healthy 33 KV XLPE-3x300/400 sq mm | Mtr | 52 | 0 | 0
361 | UG 33KV | Uprooting & Return to Store-3x185/240 sq mm | Mtr | 44 | 0 | 0
362 | UG 33KV | Uprooting & Return to Store-3x300/400 sq mm | Mtr | 51 | 0 | 0
363 | UG 33KV | Microtunneling with supply & laying of HDPE pipe-160mm Dia | Mtr | 1980 | 0 | 0
364 | UG 33KV | Microtunneling with supply & laying of HDPE pipe-200mm Dia | Mtr | 2419 | 0 | 0
365 | UG 33KV | Supply & Laying of HDPE Pipe as per Jack Push-160mm Dia | Mtr | 1320 | 0 | 0
366 | UG 33KV | Supply & Laying of HDPE Pipe as per Jack Push-200mm Dia | Mtr | 2136 | 0 | 0
367 | UG 33KV | Supply & Laying of G.I. Pipe as per Jack Push-150mm Dia TATA-Rail Crossing | Mtr | 1849 | 0 | 0
368 | UG 33KV | Supply & Laying of G.I Pipe as per Jack Push-200mm Dia TATA/JINDAL/EQV-Rail Crossing | Mtr | 2560 | 0 | 0
369 | UG 33KV | Laying of 33KV XLPE-Double Cable-3x185/240 sq mm | Mtr | 95 | 0 | 0
370 | UG 33KV | Laying of 33KV XLPE-Double Cable-3x300/400 sq mm | Mtr | 117 | 0 | 0
|  |  | Labour Cost |  |  | 2377

## Sheet1
| SPEC | CONV | DTR | 1POLE HIGHT | DP HIGHT
ANGEL | 50X50 | 4.5
ANGEL | 65X65 | 5.8
CHANNEL | 75X40 | 6.8
CHANNEL | 100X50 | 9.8
FLAT | 65X65 | 3.1
FLAT | 50X6 | 2.5

## Sheet2
my each property is associated with a material code.. like in span acsr 50, 30 both has a material code, for abc all has mat code.. for earth, for stay.. for pcc 8mtr, for pcc9, for stp 9, stp 11 for dtr 10 etc.. but currently thats not mapped i guess.. also