## Guchiya 2
GOCHIYA II
B | M.S. Channel (75X40mm) | No | Length | Total
1 | Single Pole (V-Bracket & Top Adaptor) | 10 | 1.8 | 18
2 | Single Pole Extension | 16 | 6 | 96
3 | Double Pole Structure (2* No of D.P.) | 2 | 5 | 10
4 | Line D.P. Cradle Guard Bracket |  | 2.75 | 0
5 | Tripple Pole Structure |  | 12 | 0
6 | Four-Pole Structure |  | 16 | 0
7 | Tee Off Bracket |  | 2 | 0
8 | Sub-Stn Top | 1 | 4.5 | 4.5
9 | Isolator Support | 1 | 4.5 | 4.5
10 | Transformer Base | 1 | 4.5 | 4.5
11 | I-Bolt & Handle | 1 | 1 | 1
Total |  | 7.5 |  | 138.5 | 1070
C | M.S. Angle (65X65X6mm) | No | Length | Total
1 | Tee Off Tie (Tapping) |  | 2 | 0
2 | Tee Off Bracket (Tapping) |  | 2 | 0
3 | C.G. Bracket on Single Pole | 10 | 1.9 | 19
4 | C.G. Bracket on Double Pole | 4 | 2.75 | 11
5 | H.T. Bracket on Single Pole |  | 1.8 | 0
6 | L.T. Bracket on Single Pole (4 wire) |  | 1 | 0
7 | Box Bracket on Single Pole |  | 5.5 | 0
8 | cross arm | 2 | 6.36 | 12.72
9 | H.T. Fuse Unit | 1 | 4.5 | 4.5
10 | Sub-Stn Main Switch Angle | 1 | 4.5 | 4.5
11 | Angle Support on Sub-Stn | 1 | 1 | 1
12 | Foot Rest |  | 2.25 | 0
Total |  | 6.5 |  | 52.72 | 353
D | M.S. Angle (50X50X6mm) | No | Length | Total
1 | Tee Off Tie (Tapping) |  | 2.5 | 0
2 | D.P. Basing |  | 2.5 | 0
3 | T.P. Basing |  | 2.5 | 0
4 | L.T. Fuse Unit |  | 5 | 0
5 | Sub-Stn Main Switch Angle |  | 5 | 0
6 | Service Angle Fittings |  | 2 | 0
Total |  | 5 |  | 0 | 0
E | M.S. Flat (65X6mm) | No | Length | Total
1 | No. of H.T. Clamp Sub-Stn | 1 | 14 | 14
| Line D.P. ( 6*No of D.P.) | 2 | 2 | 4
| Tee off Tie (Tapping-3 to 5 Nos) |  | 0.5 | 0
| HT Single Pole (2 nos) | 10 | 1 | 10
| Extention of Pole upto 3 Mtr (6 nos) | 16 | 3 | 48
| Tripple Pole Structure (6 nos + 12 nos) |  | 7 | 0
| cross arm | 2 | 2 | 4
2 | No. of L.T. Pole |  | 2 | 0
Total |  | 3.5 |  | 80 | 288

## BISHANPUR I
MOBARAKPUR II
B | M.S. Channel (75X40mm) | No | Length | Total
1 | Single Pole (V-Bracket & Top Adaptor) |  | 1.8 | 0
2 | Single Pole Extension | 4 | 6 | 24
3 | Double Pole Structure (2* No of D.P.) | 1 | 5 | 5
4 | Line D.P. Cradle Guard Bracket |  | 2.75 | 0
5 | Tripple Pole Structure |  | 12 | 0
6 | Four-Pole Structure |  | 16 | 0
7 | Tee Off Bracket |  | 2 | 0
8 | Sub-Stn Top | 1 | 4.5 | 4.5
9 | Isolator Support | 1 | 4.5 | 4.5
10 | Transformer Base | 1 | 4.5 | 4.5
11 | I-Bolt & Handle | 1 | 1 | 1
Total |  | 7.5 |  | 43.5 | 336
C | M.S. Angle (65X65X6mm) | No | Length | Total
1 | Tee Off Tie (Tapping) |  | 2 | 0
2 | Tee Off Bracket (Tapping) |  | 2 | 0
3 | C.G. Bracket on Single Pole |  | 1.9 | 0
4 | C.G. Bracket on Double Pole | 2 | 2.75 | 5.5
5 | H.T. Bracket on Single Pole |  | 1.8 | 0
6 | L.T. Bracket on Single Pole (4 wire) |  | 1 | 0
7 | Box Bracket on Single Pole |  | 5.5 | 0
8 | cross arm | 2 | 6.36 | 12.72
9 | H.T. Fuse Unit | 1 | 4.5 | 4.5
10 | Sub-Stn Main Switch Angle | 1 | 4.5 | 4.5
11 | Angle Support on Sub-Stn | 1 | 1 | 1
12 | Foot Rest |  | 2.25 | 0
Total |  | 6.5 |  | 28.22 | 189
D | M.S. Angle (50X50X6mm) | No | Length | Total
1 | Tee Off Tie (Tapping) |  | 2.5 | 0
2 | D.P. Basing |  | 2.5 | 0
3 | T.P. Basing |  | 2.5 | 0
4 | L.T. Fuse Unit |  | 5 | 0
5 | Sub-Stn Main Switch Angle |  | 5 | 0
6 | Service Angle Fittings |  | 2 | 0
Total |  | 5 |  | 0 | 0
E | M.S. Flat (65X6mm) | No | Length | Total
1 | No. of H.T. Clamp Sub-Stn | 1 | 14 | 14
| Line D.P. ( 6*No of D.P.) | 1 | 2 | 2
| Tee off Tie (Tapping-3 to 5 Nos) |  | 2 | 0
| HT Single Pole (2 nos) |  | 1 | 0
| Extention of Pole upto 3 Mtr (6 nos) | 4 | 3 | 12
| CG BRACKET | 3 | 0.5 | 1.5
| cross arm | 2 | 2 | 4
2 | No. of L.T. Pole | 2 | 2 | 4
Total |  | 3.5 |  | 37.5 | 135

## GOURIA III
GOURIA III
B | M.S. Channel (75X40mm) | No | Length | Total
1 | Single Pole (V-Bracket & Top Adaptor) |  | 1.8 | 0
2 | Single Pole Extension |  | 6 | 0
3 | Double Pole Structure (2* No of D.P.) |  | 5 | 0
4 | Line D.P. Cradle Guard Bracket |  | 2.75 | 0
5 | Tripple Pole Structure |  | 12 | 0
6 | Four-Pole Structure |  | 16 | 0
7 | Tee Off Bracket | 2 | 2 | 4
8 | Sub-Stn Top | 1 | 4.5 | 4.5
9 | Isolator Support | 1 | 4.5 | 4.5
10 | Transformer Base | 1 | 4.5 | 4.5
11 | I-Bolt & Handle | 1 | 1 | 1
Total |  | 7.5 |  | 18.5 | 143
C | M.S. Angle (65X65X6mm) | No | Length | Total
1 | Tee Off Tie (Tapping) |  | 2 | 0
2 | Tee Off Bracket (Tapping) |  | 2 | 0
3 | C.G. Bracket on Single Pole |  | 1.9 | 0
4 | C.G. Bracket on Double Pole |  | 2.75 | 0
5 | H.T. Bracket on Single Pole |  | 1.8 | 0
6 | L.T. Bracket on Single Pole (4 wire) |  | 1 | 0
7 | Box Bracket on Single Pole |  | 5.5 | 0
w A | cross arm |  | 6.36 | 0
9 | H.T. Fuse Unit | 1 | 4.5 | 4.5
10 | Sub-Stn Main Switch Angle | 1 | 4.5 | 4.5
11 | Angle Support on Sub-Stn | 1 | 1 | 1
12 | Foot Rest | 1 | 2.25 | 2.25
Total |  | 6.5 |  | 12.25 | 82
D | M.S. Angle (50X50X6mm) | No | Length | Total
1 | Tee Off Tie (Tapping) |  | 2.5 | 0
2 | D.P. Basing |  | 2.5 | 0
3 | T.P. Basing |  | 2.5 | 0
4 | L.T. Fuse Unit |  | 5 | 0
5 | Sub-Stn Main Switch Angle |  | 5 | 0
6 | Service Angle Fittings |  | 2 | 0
Total |  | 5 |  | 0 | 0
E | M.S. Flat (65X6mm) | No | Length | Total
1 | No. of H.T. Clamp Sub-Stn | 1 | 14 | 14
| Line D.P. ( 6*No of D.P.) |  | 3 | 0
| Tee off Tie (Tapping-3 to 5 Nos) |  | 1.5 | 0
| HT Single Pole (2 nos) |  | 1 | 0
| Extention of Pole upto 3 Mtr (6 nos) |  | 3 | 0
| CG BRACKET | 2 | 0.5 | 1
| cross arm |  | 2 | 0
2 | No. of L.T. Pole | 12 | 1 | 12
Total |  | 3.5 |  | 27 | 97