## materials
item_code | item_name | rate | unit
110030141 | P C C POLE:8 Mtrs.Long | 5363.44 | NOS
110030241 | P C C POLE:9 Mtrs.Long | 10198.28 | NOS
301018141 | Dist. Transformer 25KVA | 103528.11 | NOS
301018241 | Dist. Transformer 63KVA | 107589.53 | NOS
102010611 | M.S Channel 75X40 mm | 110043.09 | MT
101011311 | M.S Angle 65X65X6mm | 108667.24 | MT
103011511 | M.S Flat 65X6 mm | 117493.74 | MT
505030641 | Suspension Clamp Suitable for 35sq.mm. Messenger Conductor | 367.62 | NOS
505034141 | Dead end clamp LT ABC | 389.66 | NOS
505030841 | Eye hook for anchor clamp | 110.64 | NOS
504027141 | IPC for connecting ABC to ABC TEE joint | 149.17 | NOS
508040441 | Shakle Insulator | 23.34 | NOS
508030541 | 11 KV Polymer Disc Insulator 45KN | 183.15 | NOS
508011141 | 11 KV Polymer Pin Insulator 45KN | 243.79 | NOS
504010132 | Hardware fittings 11KV | 327.83 | SET
504070441 | LT Spacer 3 PHASE 4 WIRE | 77.62 | NOS
502010921 | ACSR Conductor 50SQMM | 62290.12 | KM
501030521 | LT AB CABLE 1.1KV 3CX50+1CX16+1CX35sqmm | 315558.99 | KM
504110541 | G.I. Earth Spike 6*3.25ft | 367.98 | NOS
504130432 | H.T. Stay Set Complete | 795.83 | SET
504130332 | LT Stay set | 462.17 | SET
508040841 | H.T. Guy Insulator 11KV | 52.24 | NOS
508040741 | LT Guy Insulator | 21.11 | NOS
503050711 | G.I. Stay Wire 7/3..15MM 10 SWG(HT) | 142310.93 | MT
503050611 | GI STAY WIRE 7/12 SWG | 145404.6 | MT
503010711 | G.I. 8 SWG Wire (4mm) | 137360.98 | MT
503010811 | G.I. 6 SWG Wire (5mm) | 136865.98 | MT
910010241 | Caution Board-11KVA | 160.18 | NOS
195021741 | UH-LT BKT 4 WAY | 500 | NOS
597011541 | UH-CLAMP FOR 8 MTR PCC POLE | 150 | NOS
597011741 | UH-Diron Clump | 40 | NOS
304010532 | T.P.G.O. Isolator (200Amps) 11KV | 10384.98 | SET
309010841 | Lightning Arrestor 12 KV | 524.23 | NOS
912011441 | G.I. Turn Buckle | 238.7 | NOS
407010641 | LT Distribution KIOSK FOR 25 KVA DTR | 8878.41 | NOS
501017821 | PVC Cable 4 Core 25SQMM | 229429.95 | KM
504060941 | LT Distribution Box along with steel Strap & Buckle for 3ph connection in ABC system | 1489.9 | NOS
501017421 | CABLE (PVC 1.1 KV GRADE) 4Core X10 sq mm | 125852.36 | KM
501017721 | CABLE (PVC 1.1 KV GRADE) 4CX16 sq mm | 119154.63 | KM
501017821 | CABLE (PVC 1.1 KV GRADE) 4CX25 sq mm | 229429.95 | KM
345345345 | asdfcsdcsdc | 45345r34 | nos

## labor
labor_code | task_name | rate | unit
LAB-01 | Erection of . 8mtr PCC Pole ( LT) | 1501 | NOS
LAB-02 | Erection of . 8mtr PCC Pole (HT) | 1680 | NOS
LAB-03 | Erection of . 9mtr PCC Pole (HT) | 2620 | NOS
LAB-04 | Erection of . 9mtr PCC Pole (HT) Without Painted | 2620 | NOS
LAB-05 | Erection of S/S D.P. Structure (8 mtr without Painted) | 9875 | NOS
LAB-06 | Sub-Stationn Str with 9 Mtr PCC pole DP | 13169 | NOS
LAB-07 | Sub-Stationn Str with 9 Mtr PCC pole DP Without Painted | 13169 | NOS
LAB-08 | Erection of 8 mtr D.P structure (HT) | 5654 | NOS
LAB-09 | Erection of 9 MTR Long PCC pole D/P for HTOH line | 9438 | NOS
LAB-10 | Erection of 25 KVA Transformer | 1925 | NOS
LAB-11 | Stringing & Sagging with 50 sq.mm A.C.S.R. 3 Wire | 8289 | KM
LAB-12 | Strining& saging with ACSR 50sqmm 4wire | 9715 | KM
LAB-13 | Stringing & Sagging of LT AB Cable | 46000 | KM
LAB-14 | H.T. Stay Set Complete Labor | 641 | SET
LAB-15 | LT Stay set complete | 555 | SET
LAB-16 | Earthing Complete | 313 | NOS
LAB-17 | Fabrication & Fixing of Cattle Guard Bracket (SP) | 237 | NOS
LAB-18 | Fabrication & Fixing of Cattle Guard Bracket (DP) | 369 | NOS
LAB-19 | Extension of 8 mtr PCC Pole (Without Painted)HT | 1506 | NOS
LAB-20 | Fixing Cross lacing | 15 | NOS
LAB-21 | Lead Wire above above 60 Mtrs (2 Wire) | 506 | NOS
LAB-22 | Fixing of Caution Board | 24 | NOS
LAB-23 | Fixing of LT Bracket(Without Painted) | 596 | NOS
LAB-24 | Pole GIS survey | 31 | NOS
LAB-25 | Fixing of 11 KV Pin Insulator | 63 | NOS
LAB-26 | Fixing of 11 KV Disc Insulator | 65 | NOS
LAB-27 | Fixing of LT Shackle Insulator (with N/B) | 52 | NOS
LAB-28 | Fixing of LT spacer | 56 | NOS
LAB-29 | Fixing of 11 KV TGPO Isolator on S/Stn Structure | 1193 | SET
LAB-30 | Fixing of neutral earthing of DTR WITH G | 3816 | NOS
LAB-31 | Fixing of 11 KV Lightning Arrestor | 339 | SET
LAB-32 | FIXING OF LT Distribution KIOSK FOR 25 KVA DTR | 2155 | NOS
LAB-33 | Erection of Anchoring/Suspension Clamp | 154 | NOS
LAB-34 | Survey for H.T.O.H Line | 2761 | KM
LAB-35 | Survey for L.T.O.H Line | 1714 | KM
LAB-36 | Fixing of Solid Tee-off Bracket on S.P | 1495 | NOS
LAB-37 | Fixing of Solid Tee-off Bracket on D.P | 1483 | NOS
LAB-38 | DTR Code Painting | 65 | NOS
LAB-39 | Fixing of 3ph Service Connection with cable | 570 | NOS
LAB-40 | Fixing of 1ph Service Connection with cable | 270 | NOS
LAB-41 | Fixing of 3ph Service Connection | 6117 | NOS
LAB-42 | Fixing of 1ph Service Connection | 1578 | NOS
LAB-43 | Erection of distribution box | 507 | NOS
LAB-44 | Laying & Dressing of 1.1 KV PVC/XLPE 2x10,4x10/16, 3.5/4x25 Sqmm Cable | 15000 | KM
LAB-45 | ytrsssssss | 12 | km